## BAs
BA Code | BA Name | Time Zone | Region/Country Code | Region/Country Name | Generation Only BA | Demand by BA Subregion | U.S. BA | Active BA | Activation Date | Retirement Date
AEC | PowerSouth Energy Cooperative | Central | SE | Southeast | No | No | Yes | No |  | 9/1/2021
AECI | Associated Electric Cooperative, Inc. | Central | MIDW | Midwest | No | No | Yes | Yes
AVA | Avista Corporation | Pacific | NW | Northwest | No | No | Yes | Yes
AVRN | Avangrid Renewables, LLC | Pacific | NW | Northwest | Yes | No | Yes | Yes | 7/31/2018
AZPS | Arizona Public Service Company | Arizona | SW | Southwest | No | No | Yes | Yes
BANC | Balancing Authority of Northern California | Pacific | CAL | California | No | No | Yes | Yes
BPAT | Bonneville Power Administration | Pacific | NW | Northwest | No | No | Yes | Yes
CHPD | Public Utility District No. 1 of Chelan County | Pacific | NW | Northwest | No | No | Yes | Yes
CISO | California Independent System Operator | Pacific | CAL | California | No | Yes | Yes | Yes
CPLE | Duke Energy Progress East | Eastern | CAR | Carolinas | No | No | Yes | Yes
CPLW | Duke Energy Progress West | Eastern | CAR | Carolinas | No | No | Yes | Yes
DEAA | Arlington Valley, LLC | Arizona | SW | Southwest | Yes | No | Yes | Yes
DOPD | PUD No. 1 of Douglas County | Pacific | NW | Northwest | No | No | Yes | Yes
DUK | Duke Energy Carolinas | Eastern | CAR | Carolinas | No | No | Yes | Yes
EEI | Electric Energy, Inc. | Central | MIDW | Midwest | Yes | No | Yes | No |  | 2/29/2020
EPE | El Paso Electric Company | Arizona | SW | Southwest | No | No | Yes | Yes
ERCO | Electric Reliability Council of Texas, Inc. | Central | TEX | Texas | No | Yes | Yes | Yes
FMPP | Florida Municipal Power Pool | Eastern | FLA | Florida | No | No | Yes | Yes
FPC | Duke Energy Florida, Inc. | Eastern | FLA | Florida | No | No | Yes | Yes
FPL | Florida Power & Light Co. | Eastern | FLA | Florida | No | No | Yes | Yes
GCPD | Public Utility District No. 2 of Grant County, Washington | Pacific | NW | Northwest | No | No | Yes | Yes
GLHB | GridLiance | Central | MIDW | Midwest | Yes | No | Yes | No | 2/29/2020 | 9/1/2022
GRID | Gridforce Energy Management, LLC | Pacific | NW | Northwest | Yes | No | Yes | Yes
GRIF | Griffith Energy, LLC | Arizona | SW | Southwest | Yes | No | Yes | Yes
GRMA | Gila River Power, LLC | Arizona | SW | Southwest | Yes | No | Yes | No |  | 5/3/2018
GVL | Gainesville Regional Utilities | Eastern | FLA | Florida | No | No | Yes | Yes
GWA | NaturEner Power Watch, LLC | Mountain | NW | Northwest | Yes | No | Yes | Yes
HGMA | New Harquahala Generating Company, LLC | Arizona | SW | Southwest | Yes | No | Yes | Yes
HST | City of Homestead | Eastern | FLA | Florida | No | No | Yes | Yes
IID | Imperial Irrigation District | Pacific | CAL | California | No | No | Yes | Yes
IPCO | Idaho Power Company | Pacific | NW | Northwest | No | No | Yes | Yes
ISNE | ISO New England | Eastern | NE | New England | No | Yes | Yes | Yes
JEA | JEA | Eastern | FLA | Florida | No | No | Yes | Yes
LDWP | Los Angeles Department of Water and Power | Pacific | CAL | California | No | No | Yes | Yes
LGEE | Louisville Gas and Electric Company and Kentucky Utilities Company | Eastern | MIDW | Midwest | No | No | Yes | Yes
MISO | Midcontinent Independent System Operator, Inc. | Eastern | MIDW | Midwest | No | Yes | Yes | Yes
NEVP | Nevada Power Company | Pacific | NW | Northwest | No | No | Yes | Yes
NSB | Utilities Commission of New Smyrna Beach | Eastern | FLA | Florida | No | No | Yes | No |  | 1/8/2020
NWMT | NorthWestern Corporation | Mountain | NW | Northwest | No | No | Yes | Yes
NYIS | New York Independent System Operator | Eastern | NY | New York | No | Yes | Yes | Yes
OVEC | Ohio Valley Electric Corporation | Eastern | MIDA | Mid-Atlantic | No | No | Yes | No |  | 12/1/2018
PACE | PacifiCorp East | Mountain | NW | Northwest | No | No | Yes | Yes
PACW | PacifiCorp West | Pacific | NW | Northwest | No | No | Yes | Yes
PGE | Portland General Electric Company | Pacific | NW | Northwest | No | No | Yes | Yes
PJM | PJM Interconnection, LLC | Eastern | MIDA | Mid-Atlantic | No | Yes | Yes | Yes
PNM | Public Service Company of New Mexico | Arizona | SW | Southwest | No | Yes | Yes | Yes
PSCO | Public Service Company of Colorado | Mountain | NW | Northwest | No | No | Yes | Yes
PSEI | Puget Sound Energy, Inc. | Pacific | NW | Northwest | No | No | Yes | Yes
SC | South Carolina Public Service Authority | Eastern | CAR | Carolinas | No | No | Yes | Yes
SCEG | Dominion Energy South Carolina, Inc. | Eastern | CAR | Carolinas | No | No | Yes | Yes
SCL | Seattle City Light | Pacific | NW | Northwest | No | No | Yes | Yes
SEC | Seminole Electric Cooperative | Eastern | FLA | Florida | No | No | Yes | Yes
SEPA | Southeastern Power Administration | Central | SE | Southeast | Yes | No | Yes | Yes
SOCO | Southern Company Services, Inc. - Trans | Central | SE | Southeast | No | No | Yes | Yes
SPA | Southwestern Power Administration | Central | CENT | Central | No | No | Yes | Yes
SRP | Salt River Project Agricultural Improvement and Power District | Arizona | SW | Southwest | No | No | Yes | Yes
SWPP | Southwest Power Pool | Central | CENT | Central | No | Yes | Yes | Yes
TAL | City of Tallahassee | Eastern | FLA | Florida | No | No | Yes | Yes
TEC | Tampa Electric Company | Eastern | FLA | Florida | No | No | Yes | Yes
TEPC | Tucson Electric Power | Arizona | SW | Southwest | No | No | Yes | Yes
TIDC | Turlock Irrigation District | Pacific | CAL | California | No | No | Yes | Yes
TPWR | City of Tacoma, Department of Public Utilities, Light Division | Pacific | NW | Northwest | No | No | Yes | Yes
TVA | Tennessee Valley Authority | Central | TEN | Tennessee | No | No | Yes | Yes
WACM | Western Area Power Administration - Rocky Mountain Region | Arizona | NW | Northwest | No | No | Yes | Yes
WALC | Western Area Power Administration - Desert Southwest Region | Arizona | SW | Southwest | No | No | Yes | Yes
WAUE | Western Area Power Administration - Upper Great Plains East | Mountain | NW | Northwest | No | No | Yes | No |  | 10/1/2015
WAUW | Western Area Power Administration - Upper Great Plains West | Mountain | NW | Northwest | No | No | Yes | Yes
WWA | NaturEner Wind Watch, LLC | Mountain | NW | Northwest | Yes | No | Yes | Yes
YAD | Alcoa Power Generating, Inc. - Yadkin Division | Eastern | CAR | Carolinas | Yes | No | Yes | Yes
AESO | Alberta Electric System Operator |  | CAN | Canada | No | No | No | Yes
BCHA | British Columbia Hydro and Power Authority |  | CAN | Canada | No | No | No | Yes
HQT | Hydro-Quebec TransEnergie |  | CAN | Canada | No | No | No | Yes
IESO | Ontario IESO |  | CAN | Canada | No | No | No | Yes
MHEB | Manitoba Hydro |  | CAN | Canada | No | No | No | Yes
NBSO | New Brunswick System Operator |  | CAN | Canada | No | No | No | Yes
SPC | Saskatchewan Power Corporation |  | CAN | Canada | No | No | No | Yes
CEN | Centro Nacional de Control de Energia |  | MEX | Mexico | No | No | No | Yes | 10/31/2017
CFE | Comision Federal de Electricidad |  | MEX | Mexico | No | No | No | No |  | 7/1/2018

## Regions
Region/Country Code | Region/Country Name | Time Zone
CAL | California | Pacific
CAR | Carolinas | Eastern
CENT | Central | Central
FLA | Florida | Eastern
MIDA | Mid-Atlantic | Eastern
MIDW | Midwest | Eastern
NE | New England | Eastern
NW | Northwest | Mountain
NY | New York | Eastern
SE | Southeast | Central
SW | Southwest | Arizona
TEN | Tennessee | Central
TEX | Texas | Central
US48 | United States Lower 48 | Eastern
CAN | Canada
MEX | Mexico

## BA Subregions
BA Code | BA Name | BA Subregion Code | BA Subregion Name | Active Subregion | Activation Date | Retirement Date
CISO | California Independent System Operator | PGAE | Pacific Gas and Electric | Yes
CISO | California Independent System Operator | SCE | Southern California Edison | Yes
CISO | California Independent System Operator | SDGE | San Diego Gas and Electric | Yes
CISO | California Independent System Operator | VEA | Valley Electric Association | Yes
ERCO | Electric Reliability Council of Texas, Inc. | COAS | Coast | Yes
ERCO | Electric Reliability Council of Texas, Inc. | EAST | East | Yes
ERCO | Electric Reliability Council of Texas, Inc. | FWES | Far West | Yes
ERCO | Electric Reliability Council of Texas, Inc. | NCEN | North Central | Yes
ERCO | Electric Reliability Council of Texas, Inc. | NRTH | North | Yes
ERCO | Electric Reliability Council of Texas, Inc. | SCEN | South Central | Yes
ERCO | Electric Reliability Council of Texas, Inc. | SOUT | South | Yes
ERCO | Electric Reliability Council of Texas, Inc. | WEST | West | Yes
ISNE | ISO New England | 4001 | Maine | Yes
ISNE | ISO New England | 4002 | New Hampshire | Yes
ISNE | ISO New England | 4003 | Vermont | Yes
ISNE | ISO New England | 4004 | Connecticut | Yes
ISNE | ISO New England | 4005 | Rhode Island | Yes
ISNE | ISO New England | 4006 | Southeast Mass. | Yes
ISNE | ISO New England | 4007 | Western/Central Mass. | Yes
ISNE | ISO New England | 4008 | Northeast Mass. | Yes
MISO | Midcontinent Independent System Operator, Inc. | 0001 | Zone 1 | Yes
MISO | Midcontinent Independent System Operator, Inc. | 0004 | Zone 4 | Yes
MISO | Midcontinent Independent System Operator, Inc. | 0006 | Zone 6 | Yes
MISO | Midcontinent Independent System Operator, Inc. | 0027 | Zones 2 and 7 | Yes
MISO | Midcontinent Independent System Operator, Inc. | 0035 | Zones 3 and 5 | Yes
MISO | Midcontinent Independent System Operator, Inc. | 8910 | Zones 8, 9, and 10 | Yes
NYIS | New York Independent System Operator | ZONA | West | Yes
NYIS | New York Independent System Operator | ZONB | Genesee | Yes
NYIS | New York Independent System Operator | ZONC | Central | Yes
NYIS | New York Independent System Operator | ZOND | North | Yes
NYIS | New York Independent System Operator | ZONE | Mohawk Valley | Yes
NYIS | New York Independent System Operator | ZONF | Capital | Yes
NYIS | New York Independent System Operator | ZONG | Hudson Valley | Yes
NYIS | New York Independent System Operator | ZONH | Millwood | Yes
NYIS | New York Independent System Operator | ZONI | Dunwoodie | Yes
NYIS | New York Independent System Operator | ZONJ | New York City | Yes
NYIS | New York Independent System Operator | ZONK | Long Island | Yes
PJM | PJM Interconnection, LLC | AE | Atlantic Electric zone | Yes
PJM | PJM Interconnection, LLC | AEP | American Electric Power zone | Yes
PJM | PJM Interconnection, LLC | AP | Allegheny Power zone | Yes
PJM | PJM Interconnection, LLC | ATSI | American Transmission Systems, Inc. zone | Yes
PJM | PJM Interconnection, LLC | BC | Baltimore Gas & Electric zone | Yes
PJM | PJM Interconnection, LLC | CE | Commonwealth Edison zone | Yes
PJM | PJM Interconnection, LLC | DAY | Dayton Power & Light zone | Yes
PJM | PJM Interconnection, LLC | DEOK | Duke Energy Ohio/Kentucky zone | Yes
PJM | PJM Interconnection, LLC | DOM | Dominion Virginia Power zone | Yes
PJM | PJM Interconnection, LLC | DPL | Delmarva Power & Light zone | Yes
PJM | PJM Interconnection, LLC | DUQ | Duquesne Lighting Company zone | Yes
PJM | PJM Interconnection, LLC | EKPC | East Kentucky Power Cooperative zone | Yes
PJM | PJM Interconnection, LLC | JC | Jersey Central Power & Light zone | Yes
PJM | PJM Interconnection, LLC | ME | Metropolitan Edison zone | Yes
PJM | PJM Interconnection, LLC | PE | PECO Energy zone | Yes
PJM | PJM Interconnection, LLC | PEP | Potomac Electric Power zone | Yes
PJM | PJM Interconnection, LLC | PL | Pennsylvania Power & Light zone | Yes
PJM | PJM Interconnection, LLC | PN | Pennsylvania Electric zone | Yes
PJM | PJM Interconnection, LLC | PS | Public Service Electric & Gas zone | Yes
PJM | PJM Interconnection, LLC | RECO | Rockland Electric (East) zone | Yes
PNM | Public Service Company of New Mexico | Frep | Freeport | Yes
PNM | Public Service Company of New Mexico | Jica | Jicarilla Apache Nation | Yes
PNM | Public Service Company of New Mexico | KAFB | Kirtland Air Force Base | Yes
PNM | Public Service Company of New Mexico | KCEC | Kit Carson Electric Cooperative | Yes
PNM | Public Service Company of New Mexico | LAC | Los Alamos County | Yes
PNM | Public Service Company of New Mexico | NTUA | Navajo Tribal Utility Authority | Yes
PNM | Public Service Company of New Mexico | PNM | PNM System Firm Load | Yes
PNM | Public Service Company of New Mexico | TSGT | Tri-State Generation and Transmission | Yes
SWPP | Southwest Power Pool | CSWS | AEPW American Electric Power West | Yes
SWPP | Southwest Power Pool | EDE | Empire District Electric Company | Yes
SWPP | Southwest Power Pool | GRDA | Grand River Dam Authority | Yes
SWPP | Southwest Power Pool | INDN | Independence Power & Light | Yes
SWPP | Southwest Power Pool | KACY | Kansas City Board of Public Utilities | Yes
SWPP | Southwest Power Pool | KCPL | Kansas City Power & Light | Yes
SWPP | Southwest Power Pool | LES | Lincoln Electric System | Yes
SWPP | Southwest Power Pool | MPS | KCP&L Greater Missouri Operations | Yes
SWPP | Southwest Power Pool | NPPD | Nebraska Public Power District | Yes
SWPP | Southwest Power Pool | OKGE | Oklahoma Gas and Electric Co. | Yes
SWPP | Southwest Power Pool | OPPD | Omaha Public Power District | Yes
SWPP | Southwest Power Pool | SECI | Sunflower Electric | Yes
SWPP | Southwest Power Pool | SPRM | City of Springfield | Yes
SWPP | Southwest Power Pool | SPS | Southwestern Public Service Company | Yes
SWPP | Southwest Power Pool | WAUE | Western Area Power Upper Great Plains East | Yes
SWPP | Southwest Power Pool | WFEC | Western Farmers Electric Cooperative | Yes
SWPP | Southwest Power Pool | WR | Westar Energy | Yes

## BA Connections
BA Code | BA Name | Directly Interconnected BA Code | Directly Interconnected BA Name | Country of Foreign Directly Interconnected BA | Active Connection | Activation Date | Retirement Date
AEC | PowerSouth Energy Cooperative | MISO | Midcontinent Independent System Operator, Inc. |  | No |  | 9/1/2021
AEC | PowerSouth Energy Cooperative | SOCO | Southern Company Services, Inc. - Trans |  | No |  | 9/1/2021
AECI | Associated Electric Cooperative, Inc. | MISO | Midcontinent Independent System Operator, Inc. |  | Yes
AECI | Associated Electric Cooperative, Inc. | SPA | Southwestern Power Administration |  | Yes
AECI | Associated Electric Cooperative, Inc. | SWPP | Southwest Power Pool |  | Yes
AECI | Associated Electric Cooperative, Inc. | TVA | Tennessee Valley Authority |  | Yes
AECI | Associated Electric Cooperative, Inc. | WAUE | Western Area Power Administration - Upper Great Plains East |  | No |  | 10/1/2015
AVA | Avista Corporation | BPAT | Bonneville Power Administration |  | Yes
AVA | Avista Corporation | CHPD | Public Utility District No. 1 of Chelan County |  | Yes
AVA | Avista Corporation | GCPD | Public Utility District No. 2 of Grant County, Washington |  | Yes
AVA | Avista Corporation | IPCO | Idaho Power Company |  | Yes
AVA | Avista Corporation | NWMT | NorthWestern Corporation |  | Yes
AVA | Avista Corporation | PACW | PacifiCorp West |  | Yes
AVRN | Avangrid Renewables, LLC | BPAT | Bonneville Power Administration |  | Yes | 7/31/2018
AVRN | Avangrid Renewables, LLC | PACW | PacifiCorp West |  | Yes | 4/2/2019
AZPS | Arizona Public Service Company | CISO | California Independent System Operator |  | Yes
AZPS | Arizona Public Service Company | GRMA | Gila River Power, LLC |  | No |  | 5/3/2018
AZPS | Arizona Public Service Company | IID | Imperial Irrigation District |  | Yes
AZPS | Arizona Public Service Company | LDWP | Los Angeles Department of Water and Power |  | Yes
AZPS | Arizona Public Service Company | PACE | PacifiCorp East |  | Yes
AZPS | Arizona Public Service Company | PNM | Public Service Company of New Mexico |  | Yes
AZPS | Arizona Public Service Company | SRP | Salt River Project Agricultural Improvement and Power District |  | Yes
AZPS | Arizona Public Service Company | TEPC | Tucson Electric Power |  | Yes
AZPS | Arizona Public Service Company | WACM | Western Area Power Administration - Rocky Mountain Region |  | Yes
AZPS | Arizona Public Service Company | WALC | Western Area Power Administration - Desert Southwest Region |  | Yes
BANC | Balancing Authority of Northern California | BPAT | Bonneville Power Administration |  | Yes
BANC | Balancing Authority of Northern California | CISO | California Independent System Operator |  | Yes
BANC | Balancing Authority of Northern California | TIDC | Turlock Irrigation District |  | Yes
BPAT | Bonneville Power Administration | AVA | Avista Corporation |  | Yes
BPAT | Bonneville Power Administration | AVRN | Avangrid Renewables, LLC |  | Yes | 7/31/2018
BPAT | Bonneville Power Administration | BANC | Balancing Authority of Northern California |  | Yes
BPAT | Bonneville Power Administration | BCHA | British Columbia Hydro and Power Authority | Canada | Yes
BPAT | Bonneville Power Administration | CHPD | Public Utility District No. 1 of Chelan County |  | Yes
BPAT | Bonneville Power Administration | CISO | California Independent System Operator |  | Yes
BPAT | Bonneville Power Administration | DOPD | PUD No. 1 of Douglas County |  | Yes
BPAT | Bonneville Power Administration | GCPD | Public Utility District No. 2 of Grant County, Washington |  | Yes
BPAT | Bonneville Power Administration | GRID | Gridforce Energy Management, LLC |  | Yes
BPAT | Bonneville Power Administration | IPCO | Idaho Power Company |  | Yes
BPAT | Bonneville Power Administration | LDWP | Los Angeles Department of Water and Power |  | Yes
BPAT | Bonneville Power Administration | NEVP | Nevada Power Company |  | Yes
BPAT | Bonneville Power Administration | NWMT | NorthWestern Corporation |  | Yes
BPAT | Bonneville Power Administration | PACW | PacifiCorp West |  | Yes
BPAT | Bonneville Power Administration | PGE | Portland General Electric Company |  | Yes
BPAT | Bonneville Power Administration | PSEI | Puget Sound Energy, Inc. |  | Yes
BPAT | Bonneville Power Administration | SCL | Seattle City Light |  | Yes
BPAT | Bonneville Power Administration | TPWR | City of Tacoma, Department of Public Utilities, Light Division |  | Yes
CHPD | Public Utility District No. 1 of Chelan County | AVA | Avista Corporation |  | Yes
CHPD | Public Utility District No. 1 of Chelan County | BPAT | Bonneville Power Administration |  | Yes
CHPD | Public Utility District No. 1 of Chelan County | DOPD | PUD No. 1 of Douglas County |  | Yes
CHPD | Public Utility District No. 1 of Chelan County | PSEI | Puget Sound Energy, Inc. |  | Yes
CISO | California Independent System Operator | AZPS | Arizona Public Service Company |  | Yes
CISO | California Independent System Operator | BANC | Balancing Authority of Northern California |  | Yes
CISO | California Independent System Operator | BPAT | Bonneville Power Administration |  | Yes
CISO | California Independent System Operator | CEN | Centro Nacional de Control de Energia | Mexico | Yes | 7/1/2018
CISO | California Independent System Operator | CFE | Comision Federal de Electricidad | Mexico | No |  | 7/1/2018
CISO | California Independent System Operator | IID | Imperial Irrigation District |  | Yes
CISO | California Independent System Operator | LDWP | Los Angeles Department of Water and Power |  | Yes
CISO | California Independent System Operator | NEVP | Nevada Power Company |  | Yes
CISO | California Independent System Operator | PACW | PacifiCorp West |  | Yes
CISO | California Independent System Operator | SRP | Salt River Project Agricultural Improvement and Power District |  | Yes
CISO | California Independent System Operator | TIDC | Turlock Irrigation District |  | Yes
CISO | California Independent System Operator | WALC | Western Area Power Administration - Desert Southwest Region |  | Yes
CPLE | Duke Energy Progress East | DUK | Duke Energy Carolinas |  | Yes
CPLE | Duke Energy Progress East | PJM | PJM Interconnection, LLC |  | Yes
CPLE | Duke Energy Progress East | SC | South Carolina Public Service Authority |  | Yes
CPLE | Duke Energy Progress East | SCEG | Dominion Energy South Carolina, Inc. |  | Yes
CPLE | Duke Energy Progress East | YAD | Alcoa Power Generating, Inc. - Yadkin Division |  | Yes
CPLW | Duke Energy Progress West | DUK | Duke Energy Carolinas |  | Yes
CPLW | Duke Energy Progress West | PJM | PJM Interconnection, LLC |  | Yes
CPLW | Duke Energy Progress West | TVA | Tennessee Valley Authority |  | Yes
DEAA | Arlington Valley, LLC | SRP | Salt River Project Agricultural Improvement and Power District |  | Yes
DOPD | PUD No. 1 of Douglas County | BPAT | Bonneville Power Administration |  | Yes
DOPD | PUD No. 1 of Douglas County | CHPD | Public Utility District No. 1 of Chelan County |  | Yes
DUK | Duke Energy Carolinas | CPLE | Duke Energy Progress East |  | Yes
DUK | Duke Energy Carolinas | CPLW | Duke Energy Progress West |  | Yes
DUK | Duke Energy Carolinas | PJM | PJM Interconnection, LLC |  | Yes
DUK | Duke Energy Carolinas | SC | South Carolina Public Service Authority |  | Yes
DUK | Duke Energy Carolinas | SCEG | Dominion Energy South Carolina, Inc. |  | Yes
DUK | Duke Energy Carolinas | SEPA | Southeastern Power Administration |  | Yes
DUK | Duke Energy Carolinas | SOCO | Southern Company Services, Inc. - Trans |  | Yes
DUK | Duke Energy Carolinas | TVA | Tennessee Valley Authority |  | Yes
DUK | Duke Energy Carolinas | YAD | Alcoa Power Generating, Inc. - Yadkin Division |  | Yes
EEI | Electric Energy, Inc. | LGEE | Louisville Gas and Electric Company and Kentucky Utilities Company |  | No |  | 2/29/2020
EEI | Electric Energy, Inc. | MISO | Midcontinent Independent System Operator, Inc. |  | No |  | 2/29/2020
EEI | Electric Energy, Inc. | TVA | Tennessee Valley Authority |  | No |  | 2/29/2020
EPE | El Paso Electric Company | PNM | Public Service Company of New Mexico |  | Yes
EPE | El Paso Electric Company | SWPP | Southwest Power Pool |  | Yes
EPE | El Paso Electric Company | TEPC | Tucson Electric Power |  | Yes
ERCO | Electric Reliability Council of Texas, Inc. | CEN | Centro Nacional de Control de Energia | Mexico | Yes | 10/31/2017
ERCO | Electric Reliability Council of Texas, Inc. | CFE | Comision Federal de Electricidad | Mexico | No |  | 10/31/2017
ERCO | Electric Reliability Council of Texas, Inc. | SWPP | Southwest Power Pool |  | Yes
FMPP | Florida Municipal Power Pool | FPC | Duke Energy Florida, Inc. |  | Yes
FMPP | Florida Municipal Power Pool | FPL | Florida Power & Light Co. |  | Yes
FMPP | Florida Municipal Power Pool | JEA | JEA |  | Yes
FMPP | Florida Municipal Power Pool | TEC | Tampa Electric Company |  | Yes
FPC | Duke Energy Florida, Inc. | FMPP | Florida Municipal Power Pool |  | Yes
FPC | Duke Energy Florida, Inc. | FPL | Florida Power & Light Co. |  | Yes
FPC | Duke Energy Florida, Inc. | GVL | Gainesville Regional Utilities |  | Yes
FPC | Duke Energy Florida, Inc. | NSB | Utilities Commission of New Smyrna Beach |  | No |  | 1/8/2020
FPC | Duke Energy Florida, Inc. | SEC | Seminole Electric Cooperative |  | Yes
FPC | Duke Energy Florida, Inc. | SOCO | Southern Company Services, Inc. - Trans |  | Yes
FPC | Duke Energy Florida, Inc. | TAL | City of Tallahassee |  | Yes
FPC | Duke Energy Florida, Inc. | TEC | Tampa Electric Company |  | Yes
FPL | Florida Power & Light Co. | FMPP | Florida Municipal Power Pool |  | Yes
FPL | Florida Power & Light Co. | FPC | Duke Energy Florida, Inc. |  | Yes
FPL | Florida Power & Light Co. | GVL | Gainesville Regional Utilities |  | Yes
FPL | Florida Power & Light Co. | HST | City of Homestead |  | Yes
FPL | Florida Power & Light Co. | JEA | JEA |  | Yes
FPL | Florida Power & Light Co. | NSB | Utilities Commission of New Smyrna Beach |  | No |  | 1/8/2020
FPL | Florida Power & Light Co. | SEC | Seminole Electric Cooperative |  | Yes
FPL | Florida Power & Light Co. | SOCO | Southern Company Services, Inc. - Trans |  | Yes
FPL | Florida Power & Light Co. | TEC | Tampa Electric Company |  | Yes
GCPD | Public Utility District No. 2 of Grant County, Washington | AVA | Avista Corporation |  | Yes
GCPD | Public Utility District No. 2 of Grant County, Washington | BPAT | Bonneville Power Administration |  | Yes
GCPD | Public Utility District No. 2 of Grant County, Washington | PACW | PacifiCorp West |  | Yes
GCPD | Public Utility District No. 2 of Grant County, Washington | PSEI | Puget Sound Energy, Inc. |  | Yes
GLHB | GridLiance | LGEE | Louisville Gas and Electric Company and Kentucky Utilities Company |  | No | 2/29/2020 | 9/1/2022
GLHB | GridLiance | MISO | Midcontinent Independent System Operator, Inc. |  | No | 2/29/2020 | 9/1/2022
GRID | Gridforce Energy Management, LLC | BPAT | Bonneville Power Administration |  | Yes
GRID | Gridforce Energy Management, LLC | PNM | Public Service Company of New Mexico |  | Yes | 1/15/2017
GRID | Gridforce Energy Management, LLC | SRP | Salt River Project Agricultural Improvement and Power District |  | Yes | 12/14/2020
GRIF | Griffith Energy, LLC | WALC | Western Area Power Administration - Desert Southwest Region |  | Yes
GRMA | Gila River Power, LLC | AZPS | Arizona Public Service Company |  | No |  | 5/3/2018
GVL | Gainesville Regional Utilities | FPC | Duke Energy Florida, Inc. |  | Yes
GVL | Gainesville Regional Utilities | FPL | Florida Power & Light Co. |  | Yes
GWA | NaturEner Power Watch, LLC | NWMT | NorthWestern Corporation |  | Yes
HGMA | New Harquahala Generating Company, LLC | SRP | Salt River Project Agricultural Improvement and Power District |  | Yes
HST | City of Homestead | FPL | Florida Power & Light Co. |  | Yes
IID | Imperial Irrigation District | AZPS | Arizona Public Service Company |  | Yes
IID | Imperial Irrigation District | CISO | California Independent System Operator |  | Yes
IID | Imperial Irrigation District | WALC | Western Area Power Administration - Desert Southwest Region |  | Yes
IPCO | Idaho Power Company | AVA | Avista Corporation |  | Yes
IPCO | Idaho Power Company | BPAT | Bonneville Power Administration |  | Yes
IPCO | Idaho Power Company | NEVP | Nevada Power Company |  | Yes
IPCO | Idaho Power Company | NWMT | NorthWestern Corporation |  | Yes
IPCO | Idaho Power Company | PACE | PacifiCorp East |  | Yes
IPCO | Idaho Power Company | PACW | PacifiCorp West |  | Yes
ISNE | ISO New England | HQT | Hydro-Quebec TransEnergie | Canada | Yes
ISNE | ISO New England | NBSO | New Brunswick System Operator | Canada | Yes
ISNE | ISO New England | NYIS | New York Independent System Operator |  | Yes
JEA | JEA | FMPP | Florida Municipal Power Pool |  | Yes
JEA | JEA | FPL | Florida Power & Light Co. |  | Yes
JEA | JEA | SEC | Seminole Electric Cooperative |  | Yes
LDWP | Los Angeles Department of Water and Power | AZPS | Arizona Public Service Company |  | Yes
LDWP | Los Angeles Department of Water and Power | BPAT | Bonneville Power Administration |  | Yes
LDWP | Los Angeles Department of Water and Power | CISO | California Independent System Operator |  | Yes
LDWP | Los Angeles Department of Water and Power | NEVP | Nevada Power Company |  | Yes
LDWP | Los Angeles Department of Water and Power | PACE | PacifiCorp East |  | Yes
LDWP | Los Angeles Department of Water and Power | WALC | Western Area Power Administration - Desert Southwest Region |  | Yes
LGEE | Louisville Gas and Electric Company and Kentucky Utilities Company | EEI | Electric Energy, Inc. |  | No |  | 2/29/2020
LGEE | Louisville Gas and Electric Company and Kentucky Utilities Company | GLHB | GridLiance |  | No | 2/29/2020 | 9/1/2022
LGEE | Louisville Gas and Electric Company and Kentucky Utilities Company | MISO | Midcontinent Independent System Operator, Inc. |  | Yes
LGEE | Louisville Gas and Electric Company and Kentucky Utilities Company | OVEC | Ohio Valley Electric Corporation |  | No |  | 12/1/2018
LGEE | Louisville Gas and Electric Company and Kentucky Utilities Company | PJM | PJM Interconnection, LLC |  | Yes
LGEE | Louisville Gas and Electric Company and Kentucky Utilities Company | TVA | Tennessee Valley Authority |  | Yes
MISO | Midcontinent Independent System Operator, Inc. | AEC | PowerSouth Energy Cooperative |  | No |  | 9/1/2021
MISO | Midcontinent Independent System Operator, Inc. | AECI | Associated Electric Cooperative, Inc. |  | Yes
MISO | Midcontinent Independent System Operator, Inc. | EEI | Electric Energy, Inc. |  | No |  | 2/29/2020
MISO | Midcontinent Independent System Operator, Inc. | GLHB | GridLiance |  | No | 2/29/2020 | 9/1/2022
MISO | Midcontinent Independent System Operator, Inc. | IESO | Ontario IESO | Canada | Yes
MISO | Midcontinent Independent System Operator, Inc. | LGEE | Louisville Gas and Electric Company and Kentucky Utilities Company |  | Yes
MISO | Midcontinent Independent System Operator, Inc. | MHEB | Manitoba Hydro | Canada | Yes
MISO | Midcontinent Independent System Operator, Inc. | PJM | PJM Interconnection, LLC |  | Yes
MISO | Midcontinent Independent System Operator, Inc. | SOCO | Southern Company Services, Inc. - Trans |  | Yes
MISO | Midcontinent Independent System Operator, Inc. | SPA | Southwestern Power Administration |  | Yes
MISO | Midcontinent Independent System Operator, Inc. | SWPP | Southwest Power Pool |  | Yes
MISO | Midcontinent Independent System Operator, Inc. | TVA | Tennessee Valley Authority |  | Yes
MISO | Midcontinent Independent System Operator, Inc. | WAUE | Western Area Power Administration - Upper Great Plains East |  | No |  | 10/1/2015
NEVP | Nevada Power Company | BPAT | Bonneville Power Administration |  | Yes
NEVP | Nevada Power Company | CISO | California Independent System Operator |  | Yes
NEVP | Nevada Power Company | IPCO | Idaho Power Company |  | Yes
NEVP | Nevada Power Company | LDWP | Los Angeles Department of Water and Power |  | Yes
NEVP | Nevada Power Company | PACE | PacifiCorp East |  | Yes
NEVP | Nevada Power Company | WALC | Western Area Power Administration - Desert Southwest Region |  | Yes
NSB | Utilities Commission of New Smyrna Beach | FPC | Duke Energy Florida, Inc. |  | No |  | 1/8/2020
NSB | Utilities Commission of New Smyrna Beach | FPL | Florida Power & Light Co. |  | No |  | 1/8/2020
NWMT | NorthWestern Corporation | AESO | Alberta Electric System Operator | Canada | Yes
NWMT | NorthWestern Corporation | AVA | Avista Corporation |  | Yes
NWMT | NorthWestern Corporation | BPAT | Bonneville Power Administration |  | Yes
NWMT | NorthWestern Corporation | GWA | NaturEner Power Watch, LLC |  | Yes
NWMT | NorthWestern Corporation | IPCO | Idaho Power Company |  | Yes
NWMT | NorthWestern Corporation | PACE | PacifiCorp East |  | Yes
NWMT | NorthWestern Corporation | WAUW | Western Area Power Administration - Upper Great Plains West |  | Yes
NWMT | NorthWestern Corporation | WWA | NaturEner Wind Watch, LLC |  | Yes
NYIS | New York Independent System Operator | HQT | Hydro-Quebec TransEnergie | Canada | Yes
NYIS | New York Independent System Operator | IESO | Ontario IESO | Canada | Yes
NYIS | New York Independent System Operator | ISNE | ISO New England |  | Yes
NYIS | New York Independent System Operator | PJM | PJM Interconnection, LLC |  | Yes
OVEC | Ohio Valley Electric Corporation | LGEE | Louisville Gas and Electric Company and Kentucky Utilities Company |  | No |  | 12/1/2018
OVEC | Ohio Valley Electric Corporation | PJM | PJM Interconnection, LLC |  | No |  | 12/1/2018
PACE | PacifiCorp East | AZPS | Arizona Public Service Company |  | Yes
PACE | PacifiCorp East | IPCO | Idaho Power Company |  | Yes
PACE | PacifiCorp East | LDWP | Los Angeles Department of Water and Power |  | Yes
PACE | PacifiCorp East | NEVP | Nevada Power Company |  | Yes
PACE | PacifiCorp East | NWMT | NorthWestern Corporation |  | Yes
PACE | PacifiCorp East | PACW | PacifiCorp West |  | No |  | 7/6/2022
PACE | PacifiCorp East | WACM | Western Area Power Administration - Rocky Mountain Region |  | Yes
PACW | PacifiCorp West | AVA | Avista Corporation |  | Yes
PACW | PacifiCorp West | AVRN | Avangrid Renewables, LLC |  | Yes | 4/2/2019
PACW | PacifiCorp West | BPAT | Bonneville Power Administration |  | Yes
PACW | PacifiCorp West | CISO | California Independent System Operator |  | Yes
PACW | PacifiCorp West | GCPD | Public Utility District No. 2 of Grant County, Washington |  | Yes
PACW | PacifiCorp West | IPCO | Idaho Power Company |  | Yes
PACW | PacifiCorp West | PACE | PacifiCorp East |  | No |  | 7/6/2022
PACW | PacifiCorp West | PGE | Portland General Electric Company |  | Yes
PGE | Portland General Electric Company | BPAT | Bonneville Power Administration |  | Yes
PGE | Portland General Electric Company | PACW | PacifiCorp West |  | Yes
PJM | PJM Interconnection, LLC | CPLE | Duke Energy Progress East |  | Yes
PJM | PJM Interconnection, LLC | CPLW | Duke Energy Progress West |  | Yes
PJM | PJM Interconnection, LLC | DUK | Duke Energy Carolinas |  | Yes
PJM | PJM Interconnection, LLC | LGEE | Louisville Gas and Electric Company and Kentucky Utilities Company |  | Yes
PJM | PJM Interconnection, LLC | MISO | Midcontinent Independent System Operator, Inc. |  | Yes
PJM | PJM Interconnection, LLC | NYIS | New York Independent System Operator |  | Yes
PJM | PJM Interconnection, LLC | OVEC | Ohio Valley Electric Corporation |  | No |  | 12/1/2018
PJM | PJM Interconnection, LLC | TVA | Tennessee Valley Authority |  | Yes
PNM | Public Service Company of New Mexico | AZPS | Arizona Public Service Company |  | Yes
PNM | Public Service Company of New Mexico | EPE | El Paso Electric Company |  | Yes
PNM | Public Service Company of New Mexico | GRID | Gridforce Energy Management, LLC |  | Yes | 1/15/2017
PNM | Public Service Company of New Mexico | PSCO | Public Service Company of Colorado |  | Yes
PNM | Public Service Company of New Mexico | SRP | Salt River Project Agricultural Improvement and Power District |  | No |  | 1/1/2017
PNM | Public Service Company of New Mexico | SWPP | Southwest Power Pool |  | Yes
PNM | Public Service Company of New Mexico | TEPC | Tucson Electric Power |  | Yes
PNM | Public Service Company of New Mexico | WACM | Western Area Power Administration - Rocky Mountain Region |  | Yes
PSCO | Public Service Company of Colorado | PNM | Public Service Company of New Mexico |  | Yes
PSCO | Public Service Company of Colorado | SWPP | Southwest Power Pool |  | Yes
PSCO | Public Service Company of Colorado | WACM | Western Area Power Administration - Rocky Mountain Region |  | Yes
PSEI | Puget Sound Energy, Inc. | BPAT | Bonneville Power Administration |  | Yes
PSEI | Puget Sound Energy, Inc. | CHPD | Public Utility District No. 1 of Chelan County |  | Yes
PSEI | Puget Sound Energy, Inc. | GCPD | Public Utility District No. 2 of Grant County, Washington |  | Yes
PSEI | Puget Sound Energy, Inc. | SCL | Seattle City Light |  | Yes
PSEI | Puget Sound Energy, Inc. | TPWR | City of Tacoma, Department of Public Utilities, Light Division |  | Yes
SC | South Carolina Public Service Authority | CPLE | Duke Energy Progress East |  | Yes
SC | South Carolina Public Service Authority | DUK | Duke Energy Carolinas |  | Yes
SC | South Carolina Public Service Authority | SCEG | Dominion Energy South Carolina, Inc. |  | Yes
SC | South Carolina Public Service Authority | SEPA | Southeastern Power Administration |  | Yes
SC | South Carolina Public Service Authority | SOCO | Southern Company Services, Inc. - Trans |  | Yes
SCEG | Dominion Energy South Carolina, Inc. | CPLE | Duke Energy Progress East |  | Yes
SCEG | Dominion Energy South Carolina, Inc. | DUK | Duke Energy Carolinas |  | Yes
SCEG | Dominion Energy South Carolina, Inc. | SC | South Carolina Public Service Authority |  | Yes
SCEG | Dominion Energy South Carolina, Inc. | SEPA | Southeastern Power Administration |  | Yes
SCEG | Dominion Energy South Carolina, Inc. | SOCO | Southern Company Services, Inc. - Trans |  | Yes
SCL | Seattle City Light | BPAT | Bonneville Power Administration |  | Yes
SCL | Seattle City Light | PSEI | Puget Sound Energy, Inc. |  | Yes
SEC | Seminole Electric Cooperative | FPC | Duke Energy Florida, Inc. |  | Yes
SEC | Seminole Electric Cooperative | FPL | Florida Power & Light Co. |  | Yes
SEC | Seminole Electric Cooperative | JEA | JEA |  | Yes
SEC | Seminole Electric Cooperative | TEC | Tampa Electric Company |  | Yes
SEPA | Southeastern Power Administration | DUK | Duke Energy Carolinas |  | Yes
SEPA | Southeastern Power Administration | SC | South Carolina Public Service Authority |  | Yes
SEPA | Southeastern Power Administration | SCEG | Dominion Energy South Carolina, Inc. |  | Yes
SEPA | Southeastern Power Administration | SOCO | Southern Company Services, Inc. - Trans |  | Yes
SOCO | Southern Company Services, Inc. - Trans | AEC | PowerSouth Energy Cooperative |  | No |  | 9/1/2021
SOCO | Southern Company Services, Inc. - Trans | DUK | Duke Energy Carolinas |  | Yes
SOCO | Southern Company Services, Inc. - Trans | FPC | Duke Energy Florida, Inc. |  | Yes
SOCO | Southern Company Services, Inc. - Trans | FPL | Florida Power & Light Co. |  | Yes
SOCO | Southern Company Services, Inc. - Trans | MISO | Midcontinent Independent System Operator, Inc. |  | Yes
SOCO | Southern Company Services, Inc. - Trans | SC | South Carolina Public Service Authority |  | Yes
SOCO | Southern Company Services, Inc. - Trans | SCEG | Dominion Energy South Carolina, Inc. |  | Yes
SOCO | Southern Company Services, Inc. - Trans | SEPA | Southeastern Power Administration |  | Yes
SOCO | Southern Company Services, Inc. - Trans | TAL | City of Tallahassee |  | Yes
SOCO | Southern Company Services, Inc. - Trans | TVA | Tennessee Valley Authority |  | Yes
SPA | Southwestern Power Administration | AECI | Associated Electric Cooperative, Inc. |  | Yes
SPA | Southwestern Power Administration | MISO | Midcontinent Independent System Operator, Inc. |  | Yes
SPA | Southwestern Power Administration | SWPP | Southwest Power Pool |  | Yes
SRP | Salt River Project Agricultural Improvement and Power District | AZPS | Arizona Public Service Company |  | Yes
SRP | Salt River Project Agricultural Improvement and Power District | CISO | California Independent System Operator |  | Yes
SRP | Salt River Project Agricultural Improvement and Power District | DEAA | Arlington Valley, LLC |  | Yes
SRP | Salt River Project Agricultural Improvement and Power District | GRID | Gridforce Energy Management, LLC |  | Yes | 12/14/2020
SRP | Salt River Project Agricultural Improvement and Power District | HGMA | New Harquahala Generating Company, LLC |  | Yes
SRP | Salt River Project Agricultural Improvement and Power District | PNM | Public Service Company of New Mexico |  | No |  | 1/1/2017
SRP | Salt River Project Agricultural Improvement and Power District | TEPC | Tucson Electric Power |  | Yes
SRP | Salt River Project Agricultural Improvement and Power District | WALC | Western Area Power Administration - Desert Southwest Region |  | Yes
SWPP | Southwest Power Pool | AECI | Associated Electric Cooperative, Inc. |  | Yes
SWPP | Southwest Power Pool | EPE | El Paso Electric Company |  | Yes
SWPP | Southwest Power Pool | ERCO | Electric Reliability Council of Texas, Inc. |  | Yes
SWPP | Southwest Power Pool | MISO | Midcontinent Independent System Operator, Inc. |  | Yes
SWPP | Southwest Power Pool | PNM | Public Service Company of New Mexico |  | Yes
SWPP | Southwest Power Pool | PSCO | Public Service Company of Colorado |  | Yes
SWPP | Southwest Power Pool | SPA | Southwestern Power Administration |  | Yes
SWPP | Southwest Power Pool | SPC | Saskatchewan Power Corporation | Canada | Yes | 10/1/2016
SWPP | Southwest Power Pool | WACM | Western Area Power Administration - Rocky Mountain Region |  | Yes
SWPP | Southwest Power Pool | WAUE | Western Area Power Administration - Upper Great Plains East |  | No |  | 10/1/2015
SWPP | Southwest Power Pool | WAUW | Western Area Power Administration - Upper Great Plains West |  | Yes
TAL | City of Tallahassee | FPC | Duke Energy Florida, Inc. |  | Yes
TAL | City of Tallahassee | SOCO | Southern Company Services, Inc. - Trans |  | Yes
TEC | Tampa Electric Company | FMPP | Florida Municipal Power Pool |  | Yes
TEC | Tampa Electric Company | FPC | Duke Energy Florida, Inc. |  | Yes
TEC | Tampa Electric Company | FPL | Florida Power & Light Co. |  | Yes
TEC | Tampa Electric Company | SEC | Seminole Electric Cooperative |  | Yes
TEPC | Tucson Electric Power | AZPS | Arizona Public Service Company |  | Yes
TEPC | Tucson Electric Power | EPE | El Paso Electric Company |  | Yes
TEPC | Tucson Electric Power | PNM | Public Service Company of New Mexico |  | Yes
TEPC | Tucson Electric Power | SRP | Salt River Project Agricultural Improvement and Power District |  | Yes
TEPC | Tucson Electric Power | WALC | Western Area Power Administration - Desert Southwest Region |  | Yes
TIDC | Turlock Irrigation District | BANC | Balancing Authority of Northern California |  | Yes
TIDC | Turlock Irrigation District | CISO | California Independent System Operator |  | Yes
TPWR | City of Tacoma, Department of Public Utilities, Light Division | BPAT | Bonneville Power Administration |  | Yes
TPWR | City of Tacoma, Department of Public Utilities, Light Division | PSEI | Puget Sound Energy, Inc. |  | Yes
TVA | Tennessee Valley Authority | AECI | Associated Electric Cooperative, Inc. |  | Yes
TVA | Tennessee Valley Authority | CPLW | Duke Energy Progress West |  | Yes
TVA | Tennessee Valley Authority | DUK | Duke Energy Carolinas |  | Yes
TVA | Tennessee Valley Authority | EEI | Electric Energy, Inc. |  | No |  | 2/29/2020
TVA | Tennessee Valley Authority | LGEE | Louisville Gas and Electric Company and Kentucky Utilities Company |  | Yes
TVA | Tennessee Valley Authority | MISO | Midcontinent Independent System Operator, Inc. |  | Yes
TVA | Tennessee Valley Authority | PJM | PJM Interconnection, LLC |  | Yes
TVA | Tennessee Valley Authority | SOCO | Southern Company Services, Inc. - Trans |  | Yes
WACM | Western Area Power Administration - Rocky Mountain Region | AZPS | Arizona Public Service Company |  | Yes
WACM | Western Area Power Administration - Rocky Mountain Region | PACE | PacifiCorp East |  | Yes
WACM | Western Area Power Administration - Rocky Mountain Region | PNM | Public Service Company of New Mexico |  | Yes
WACM | Western Area Power Administration - Rocky Mountain Region | PSCO | Public Service Company of Colorado |  | Yes
WACM | Western Area Power Administration - Rocky Mountain Region | SWPP | Southwest Power Pool |  | Yes
WACM | Western Area Power Administration - Rocky Mountain Region | WALC | Western Area Power Administration - Desert Southwest Region |  | Yes
WACM | Western Area Power Administration - Rocky Mountain Region | WAUE | Western Area Power Administration - Upper Great Plains East |  | No |  | 10/1/2015
WACM | Western Area Power Administration - Rocky Mountain Region | WAUW | Western Area Power Administration - Upper Great Plains West |  | Yes
WALC | Western Area Power Administration - Desert Southwest Region | AZPS | Arizona Public Service Company |  | Yes
WALC | Western Area Power Administration - Desert Southwest Region | CISO | California Independent System Operator |  | Yes
WALC | Western Area Power Administration - Desert Southwest Region | GRIF | Griffith Energy, LLC |  | Yes
WALC | Western Area Power Administration - Desert Southwest Region | IID | Imperial Irrigation District |  | Yes
WALC | Western Area Power Administration - Desert Southwest Region | LDWP | Los Angeles Department of Water and Power |  | Yes
WALC | Western Area Power Administration - Desert Southwest Region | NEVP | Nevada Power Company |  | Yes
WALC | Western Area Power Administration - Desert Southwest Region | SRP | Salt River Project Agricultural Improvement and Power District |  | Yes
WALC | Western Area Power Administration - Desert Southwest Region | TEPC | Tucson Electric Power |  | Yes
WALC | Western Area Power Administration - Desert Southwest Region | WACM | Western Area Power Administration - Rocky Mountain Region |  | Yes
WAUE | Western Area Power Administration - Upper Great Plains East | AECI | Associated Electric Cooperative, Inc. |  | No |  | 10/1/2015
WAUE | Western Area Power Administration - Upper Great Plains East | MISO | Midcontinent Independent System Operator, Inc. |  | No |  | 10/1/2015
WAUE | Western Area Power Administration - Upper Great Plains East | SWPP | Southwest Power Pool |  | No |  | 10/1/2015
WAUE | Western Area Power Administration - Upper Great Plains East | WACM | Western Area Power Administration - Rocky Mountain Region |  | No |  | 10/1/2015
WAUE | Western Area Power Administration - Upper Great Plains East | WAUW | Western Area Power Administration - Upper Great Plains West |  | No |  | 10/1/2015
WAUW | Western Area Power Administration - Upper Great Plains West | NWMT | NorthWestern Corporation |  | Yes
WAUW | Western Area Power Administration - Upper Great Plains West | SWPP | Southwest Power Pool |  | Yes
WAUW | Western Area Power Administration - Upper Great Plains West | WACM | Western Area Power Administration - Rocky Mountain Region |  | Yes
WAUW | Western Area Power Administration - Upper Great Plains West | WAUE | Western Area Power Administration - Upper Great Plains East |  | No |  | 10/1/2015
WWA | NaturEner Wind Watch, LLC | NWMT | NorthWestern Corporation |  | Yes
YAD | Alcoa Power Generating, Inc. - Yadkin Division | CPLE | Duke Energy Progress East |  | Yes
YAD | Alcoa Power Generating, Inc. - Yadkin Division | DUK | Duke Energy Carolinas |  | Yes

## Energy Sources
Energy Source Code | Energy Source Name
COL | Coal
NG | Natural gas
NUC | Nuclear
OIL | Petroleum
OTH | Other
SUN | Solar
SYS | All energy sources
UNK | Unknown
WAT | Hydro and pumped storage
WND | Wind

## Notes
Notes
Activation Date column only includes dates for new additions made after the EIA-930 began data collection.
Generation Only BA column indicates if a balancing authority is "generation only" meaning the balancing authority consists of a power plant or group of power plants and does not directly serve retail customers. Therefore, they only report net generation and interchange and do not report demand or demand forecasts.
Demand by BA Subregion column indicates if a balancing authority reports demand for subregions (e.g., load zones, weather zones, operating company areas, local balancing authorities, etc.) within their system.
Notes updated 8/19/2019
Reference tables updated 2/14/2023

## BA Connections (2)
FromBA | ToBA | Active Connection | Activation Date | Retirement Date | FromBA_FERC | ToBA_FERC | Active Interface in EI?
AEC | MISO | No |  | 9/1/2021 | SERC | MISO | 1
AEC | SOCO | No |  | 9/1/2021 | SERC | SERC | 1
AECI | MISO | Yes |  |  | AECI | MISO | 1
AECI | SPA | Yes |  |  | AECI | SPP | 1
AECI | SWPP | Yes |  |  | AECI | SPP | 1
AECI | TVA | Yes |  |  | AECI | SERC | 1
AECI | WAUE | No |  | 10/1/2015 | AECI | #N/A | 0
AVA | BPAT | Yes |  |  | NorthernGrid | NorthernGrid | 0
AVA | CHPD | Yes |  |  | NorthernGrid | NorthernGrid | 0
AVA | GCPD | Yes |  |  | NorthernGrid | NorthernGrid | 0
AVA | IPCO | Yes |  |  | NorthernGrid | NorthernGrid | 0
AVA | NWMT | Yes |  |  | NorthernGrid | NorthernGrid | 0
AVA | PACW | Yes |  |  | NorthernGrid | NorthernGrid | 0
AVRN | BPAT | Yes | 7/31/2018 |  | NorthernGrid | NorthernGrid | 0
AVRN | PACW | Yes | 4/2/2019 |  | NorthernGrid | NorthernGrid | 0
AZPS | CISO | Yes |  |  | WestConnect | CAISO | 0
AZPS | GRMA | No |  | 5/3/2018 | WestConnect | #N/A | 0
AZPS | IID | Yes |  |  | WestConnect | CAISO | 0
AZPS | LDWP | Yes |  |  | WestConnect | CAISO | 0
AZPS | PACE | Yes |  |  | WestConnect | NorthernGrid | 0
AZPS | PNM | Yes |  |  | WestConnect | WestConnect | 0
AZPS | SRP | Yes |  |  | WestConnect | WestConnect | 0
AZPS | TEPC | Yes |  |  | WestConnect | WestConnect | 0
AZPS | WACM | Yes |  |  | WestConnect | WestConnect | 0
AZPS | WALC | Yes |  |  | WestConnect | WestConnect | 0
BANC | BPAT | Yes |  |  | CAISO | NorthernGrid | 0
BANC | CISO | Yes |  |  | CAISO | CAISO | 0
BANC | TIDC | Yes |  |  | CAISO | CAISO | 0
BPAT | AVA | Yes |  |  | NorthernGrid | NorthernGrid | 0
BPAT | AVRN | Yes | 7/31/2018 |  | NorthernGrid | NorthernGrid | 0
BPAT | BANC | Yes |  |  | NorthernGrid | CAISO | 0
BPAT | BCHA | Yes |  |  | NorthernGrid | British Colombia | 0
BPAT | CHPD | Yes |  |  | NorthernGrid | NorthernGrid | 0
BPAT | CISO | Yes |  |  | NorthernGrid | CAISO | 0
BPAT | DOPD | Yes |  |  | NorthernGrid | NorthernGrid | 0
BPAT | GCPD | Yes |  |  | NorthernGrid | NorthernGrid | 0
BPAT | GRID | Yes |  |  | NorthernGrid | NorthernGrid | 0
BPAT | IPCO | Yes |  |  | NorthernGrid | NorthernGrid | 0
BPAT | LDWP | Yes |  |  | NorthernGrid | CAISO | 0
BPAT | NEVP | Yes |  |  | NorthernGrid | NorthernGrid | 0
BPAT | NWMT | Yes |  |  | NorthernGrid | NorthernGrid | 0
BPAT | PACW | Yes |  |  | NorthernGrid | NorthernGrid | 0
BPAT | PGE | Yes |  |  | NorthernGrid | NorthernGrid | 0
BPAT | PSEI | Yes |  |  | NorthernGrid | NorthernGrid | 0
BPAT | SCL | Yes |  |  | NorthernGrid | NorthernGrid | 0
BPAT | TPWR | Yes |  |  | NorthernGrid | NorthernGrid | 0
CHPD | AVA | Yes |  |  | NorthernGrid | NorthernGrid | 0
CHPD | BPAT | Yes |  |  | NorthernGrid | NorthernGrid | 0
CHPD | DOPD | Yes |  |  | NorthernGrid | NorthernGrid | 0
CHPD | PSEI | Yes |  |  | NorthernGrid | NorthernGrid | 0
CISO | AZPS | Yes |  |  | CAISO | WestConnect | 0
CISO | BANC | Yes |  |  | CAISO | CAISO | 0
CISO | BPAT | Yes |  |  | CAISO | NorthernGrid | 0
CISO | CEN | Yes | 7/1/2018 |  | CAISO | Mexico | 0
CISO | CFE | No |  | 7/1/2018 | CAISO | #N/A | 0
CISO | IID | Yes |  |  | CAISO | CAISO | 0
CISO | LDWP | Yes |  |  | CAISO | CAISO | 0
CISO | NEVP | Yes |  |  | CAISO | NorthernGrid | 0
CISO | PACW | Yes |  |  | CAISO | NorthernGrid | 0
CISO | SRP | Yes |  |  | CAISO | WestConnect | 0
CISO | TIDC | Yes |  |  | CAISO | CAISO | 0
CISO | WALC | Yes |  |  | CAISO | WestConnect | 0
CPLE | DUK | Yes |  |  | SERC | SERC | 1
CPLE | PJM | Yes |  |  | SERC | PJM | 1
CPLE | SC | Yes |  |  | SERC | SCRTP | 1
CPLE | SCEG | Yes |  |  | SERC | SCRTP | 1
CPLE | YAD | Yes |  |  | SERC | SERC | 1
CPLW | DUK | Yes |  |  | SERC | SERC | 1
CPLW | PJM | Yes |  |  | SERC | PJM | 1
CPLW | TVA | Yes |  |  | SERC | SERC | 1
DEAA | SRP | Yes |  |  | WestConnect | WestConnect | 0
DOPD | BPAT | Yes |  |  | NorthernGrid | NorthernGrid | 0
DOPD | CHPD | Yes |  |  | NorthernGrid | NorthernGrid | 0
DUK | CPLE | Yes |  |  | SERC | SERC | 1
DUK | CPLW | Yes |  |  | SERC | SERC | 1
DUK | PJM | Yes |  |  | SERC | PJM | 1
DUK | SC | Yes |  |  | SERC | SCRTP | 1
DUK | SCEG | Yes |  |  | SERC | SCRTP | 1
DUK | SEPA | Yes |  |  | SERC | SERC | 1
DUK | SOCO | Yes |  |  | SERC | SERC | 1
DUK | TVA | Yes |  |  | SERC | SERC | 1
DUK | YAD | Yes |  |  | SERC | SERC | 1
EEI | LGEE | No |  | 2/29/2020 | #N/A | SERC | 0
EEI | MISO | No |  | 2/29/2020 | #N/A | MISO | 0
EEI | TVA | No |  | 2/29/2020 | #N/A | SERC | 0
EPE | PNM | Yes |  |  | WestConnect | WestConnect | 0
EPE | SWPP | Yes |  |  | WestConnect | SPP | 0
EPE | TEPC | Yes |  |  | WestConnect | WestConnect | 0
ERCO | CEN | Yes | 10/31/2017 |  | ERCOT | Mexico | 0
ERCO | CFE | No |  | 10/31/2017 | ERCOT | #N/A | 0
ERCO | SWPP | Yes |  |  | ERCOT | SPP | 0
FMPP | FPC | Yes |  |  | FRCC | FRCC | 1
FMPP | FPL | Yes |  |  | FRCC | FRCC | 1
FMPP | JEA | Yes |  |  | FRCC | FRCC | 1
FMPP | TEC | Yes |  |  | FRCC | FRCC | 1
FPC | FMPP | Yes |  |  | FRCC | FRCC | 1
FPC | FPL | Yes |  |  | FRCC | FRCC | 1
FPC | GVL | Yes |  |  | FRCC | FRCC | 1
FPC | NSB | No |  | 1/8/2020 | FRCC | #N/A | 1
FPC | SEC | Yes |  |  | FRCC | FRCC | 1
FPC | SOCO | Yes |  |  | FRCC | SERC | 1
FPC | TAL | Yes |  |  | FRCC | FRCC | 1
FPC | TEC | Yes |  |  | FRCC | FRCC | 1
FPL | FMPP | Yes |  |  | FRCC | FRCC | 1
FPL | FPC | Yes |  |  | FRCC | FRCC | 1
FPL | GVL | Yes |  |  | FRCC | FRCC | 1
FPL | HST | Yes |  |  | FRCC | FRCC | 1
FPL | JEA | Yes |  |  | FRCC | FRCC | 1
FPL | NSB | No |  | 1/8/2020 | FRCC | #N/A | 1
FPL | SEC | Yes |  |  | FRCC | FRCC | 1
FPL | SOCO | Yes |  |  | FRCC | SERC | 1
FPL | TEC | Yes |  |  | FRCC | FRCC | 1
GCPD | AVA | Yes |  |  | NorthernGrid | NorthernGrid | 0
GCPD | BPAT | Yes |  |  | NorthernGrid | NorthernGrid | 0
GCPD | PACW | Yes |  |  | NorthernGrid | NorthernGrid | 0
GCPD | PSEI | Yes |  |  | NorthernGrid | NorthernGrid | 0
GLHB | LGEE | No | 2/29/2020 | 9/1/2022 | MISO | SERC | 1
GLHB | MISO | No | 2/29/2020 | 9/1/2022 | MISO | MISO | 1
GRID | BPAT | Yes |  |  | NorthernGrid | NorthernGrid | 0
GRID | PNM | Yes | 1/15/2017 |  | NorthernGrid | WestConnect | 0
GRID | SRP | Yes | 12/14/2020 |  | NorthernGrid | WestConnect | 0
GRIF | WALC | Yes |  |  | WestConnect | WestConnect | 0
GRMA | AZPS | No |  | 5/3/2018 | #N/A | WestConnect | 0
GVL | FPC | Yes |  |  | FRCC | FRCC | 1
GVL | FPL | Yes |  |  | FRCC | FRCC | 1
GWA | NWMT | Yes |  |  | NorthernGrid | NorthernGrid | 0
HGMA | SRP | Yes |  |  | WestConnect | WestConnect | 0
HST | FPL | Yes |  |  | FRCC | FRCC | 1
IID | AZPS | Yes |  |  | CAISO | WestConnect | 0
IID | CISO | Yes |  |  | CAISO | CAISO | 0
IID | WALC | Yes |  |  | CAISO | WestConnect | 0
IPCO | AVA | Yes |  |  | NorthernGrid | NorthernGrid | 0
IPCO | BPAT | Yes |  |  | NorthernGrid | NorthernGrid | 0
IPCO | NEVP | Yes |  |  | NorthernGrid | NorthernGrid | 0
IPCO | NWMT | Yes |  |  | NorthernGrid | NorthernGrid | 0
IPCO | PACE | Yes |  |  | NorthernGrid | NorthernGrid | 0
IPCO | PACW | Yes |  |  | NorthernGrid | NorthernGrid | 0
ISNE | HQT | Yes |  |  | ISONE | Quebec | 1
ISNE | NBSO | Yes |  |  | ISONE | New Brunswick | 1
ISNE | NYIS | Yes |  |  | ISONE | NYISO | 1
JEA | FMPP | Yes |  |  | FRCC | FRCC | 1
JEA | FPL | Yes |  |  | FRCC | FRCC | 1
JEA | SEC | Yes |  |  | FRCC | FRCC | 1
LDWP | AZPS | Yes |  |  | CAISO | WestConnect | 0
LDWP | BPAT | Yes |  |  | CAISO | NorthernGrid | 0
LDWP | CISO | Yes |  |  | CAISO | CAISO | 0
LDWP | NEVP | Yes |  |  | CAISO | NorthernGrid | 0
LDWP | PACE | Yes |  |  | CAISO | NorthernGrid | 0
LDWP | WALC | Yes |  |  | CAISO | WestConnect | 0
LGEE | EEI | No |  | 2/29/2020 | SERC | #N/A | 0
LGEE | GLHB | No | 2/29/2020 | 9/1/2022 | SERC | MISO | 1
LGEE | MISO | Yes |  |  | SERC | MISO | 1
LGEE | OVEC | No |  | 12/1/2018 | SERC | #N/A | 1
LGEE | PJM | Yes |  |  | SERC | PJM | 1
LGEE | TVA | Yes |  |  | SERC | SERC | 1
MISO | AEC | No |  | 9/1/2021 | MISO | SERC | 1
MISO | AECI | Yes |  |  | MISO | AECI | 1
MISO | EEI | No |  | 2/29/2020 | MISO | #N/A | 0
MISO | GLHB | No | 2/29/2020 | 9/1/2022 | MISO | MISO | 1
MISO | IESO | Yes |  |  | MISO | Ontario | 1
MISO | LGEE | Yes |  |  | MISO | SERC | 1
MISO | MHEB | Yes |  |  | MISO | Manitoba | 1
MISO | PJM | Yes |  |  | MISO | PJM | 1
MISO | SOCO | Yes |  |  | MISO | SERC | 1
MISO | SPA | Yes |  |  | MISO | SPP | 1
MISO | SWPP | Yes |  |  | MISO | SPP | 1
MISO | TVA | Yes |  |  | MISO | SERC | 1
MISO | WAUE | No |  | 10/1/2015 | MISO | #N/A | 0
NEVP | BPAT | Yes |  |  | NorthernGrid | NorthernGrid | 0
NEVP | CISO | Yes |  |  | NorthernGrid | CAISO | 0
NEVP | IPCO | Yes |  |  | NorthernGrid | NorthernGrid | 0
NEVP | LDWP | Yes |  |  | NorthernGrid | CAISO | 0
NEVP | PACE | Yes |  |  | NorthernGrid | NorthernGrid | 0
NEVP | WALC | Yes |  |  | NorthernGrid | WestConnect | 0
NSB | FPC | No |  | 1/8/2020 | #N/A | FRCC | 1
NSB | FPL | No |  | 1/8/2020 | #N/A | FRCC | 1
NWMT | AESO | Yes |  |  | NorthernGrid | Alberta | 0
NWMT | AVA | Yes |  |  | NorthernGrid | NorthernGrid | 0
NWMT | BPAT | Yes |  |  | NorthernGrid | NorthernGrid | 0
NWMT | GWA | Yes |  |  | NorthernGrid | NorthernGrid | 0
NWMT | IPCO | Yes |  |  | NorthernGrid | NorthernGrid | 0
NWMT | PACE | Yes |  |  | NorthernGrid | NorthernGrid | 0
NWMT | WAUW | Yes |  |  | NorthernGrid | WestConnect | 0
NWMT | WWA | Yes |  |  | NorthernGrid | NorthernGrid | 0
NYIS | HQT | Yes |  |  | NYISO | Quebec | 1
NYIS | IESO | Yes |  |  | NYISO | Ontario | 1
NYIS | ISNE | Yes |  |  | NYISO | ISONE | 1
NYIS | PJM | Yes |  |  | NYISO | PJM | 1
OVEC | LGEE | No |  | 12/1/2018 | #N/A | SERC | 1
OVEC | PJM | No |  | 12/1/2018 | #N/A | PJM | 1
PACE | AZPS | Yes |  |  | NorthernGrid | WestConnect | 0
PACE | IPCO | Yes |  |  | NorthernGrid | NorthernGrid | 0
PACE | LDWP | Yes |  |  | NorthernGrid | CAISO | 0
PACE | NEVP | Yes |  |  | NorthernGrid | NorthernGrid | 0
PACE | NWMT | Yes |  |  | NorthernGrid | NorthernGrid | 0
PACE | PACW | No |  | 7/6/2022 | NorthernGrid | NorthernGrid | 0
PACE | WACM | Yes |  |  | NorthernGrid | WestConnect | 0
PACW | AVA | Yes |  |  | NorthernGrid | NorthernGrid | 0
PACW | AVRN | Yes | 4/2/2019 |  | NorthernGrid | NorthernGrid | 0
PACW | BPAT | Yes |  |  | NorthernGrid | NorthernGrid | 0
PACW | CISO | Yes |  |  | NorthernGrid | CAISO | 0
PACW | GCPD | Yes |  |  | NorthernGrid | NorthernGrid | 0
PACW | IPCO | Yes |  |  | NorthernGrid | NorthernGrid | 0
PACW | PACE | No |  | 7/6/2022 | NorthernGrid | NorthernGrid | 0
PACW | PGE | Yes |  |  | NorthernGrid | NorthernGrid | 0
PGE | BPAT | Yes |  |  | NorthernGrid | NorthernGrid | 0
PGE | PACW | Yes |  |  | NorthernGrid | NorthernGrid | 0
PJM | CPLE | Yes |  |  | PJM | SERC | 1
PJM | CPLW | Yes |  |  | PJM | SERC | 1
PJM | DUK | Yes |  |  | PJM | SERC | 1
PJM | LGEE | Yes |  |  | PJM | SERC | 1
PJM | MISO | Yes |  |  | PJM | MISO | 1
PJM | NYIS | Yes |  |  | PJM | NYISO | 1
PJM | OVEC | No |  | 12/1/2018 | PJM | #N/A | 1
PJM | TVA | Yes |  |  | PJM | SERC | 1
PNM | AZPS | Yes |  |  | WestConnect | WestConnect | 0
PNM | EPE | Yes |  |  | WestConnect | WestConnect | 0
PNM | GRID | Yes | 1/15/2017 |  | WestConnect | NorthernGrid | 0
PNM | PSCO | Yes |  |  | WestConnect | WestConnect | 0
PNM | SRP | No |  | 1/1/2017 | WestConnect | WestConnect | 0
PNM | SWPP | Yes |  |  | WestConnect | SPP | 0
PNM | TEPC | Yes |  |  | WestConnect | WestConnect | 0
PNM | WACM | Yes |  |  | WestConnect | WestConnect | 0
PSCO | PNM | Yes |  |  | WestConnect | WestConnect | 0
PSCO | SWPP | Yes |  |  | WestConnect | SPP | 0
PSCO | WACM | Yes |  |  | WestConnect | WestConnect | 0
PSEI | BPAT | Yes |  |  | NorthernGrid | NorthernGrid | 0
PSEI | CHPD | Yes |  |  | NorthernGrid | NorthernGrid | 0
PSEI | GCPD | Yes |  |  | NorthernGrid | NorthernGrid | 0
PSEI | SCL | Yes |  |  | NorthernGrid | NorthernGrid | 0
PSEI | TPWR | Yes |  |  | NorthernGrid | NorthernGrid | 0
SC | CPLE | Yes |  |  | SCRTP | SERC | 1
SC | DUK | Yes |  |  | SCRTP | SERC | 1
SC | SCEG | Yes |  |  | SCRTP | SCRTP | 1
SC | SEPA | Yes |  |  | SCRTP | SERC | 1
SC | SOCO | Yes |  |  | SCRTP | SERC | 1
SCEG | CPLE | Yes |  |  | SCRTP | SERC | 1
SCEG | DUK | Yes |  |  | SCRTP | SERC | 1
SCEG | SC | Yes |  |  | SCRTP | SCRTP | 1
SCEG | SEPA | Yes |  |  | SCRTP | SERC | 1
SCEG | SOCO | Yes |  |  | SCRTP | SERC | 1
SCL | BPAT | Yes |  |  | NorthernGrid | NorthernGrid | 0
SCL | PSEI | Yes |  |  | NorthernGrid | NorthernGrid | 0
SEC | FPC | Yes |  |  | FRCC | FRCC | 1
SEC | FPL | Yes |  |  | FRCC | FRCC | 1
SEC | JEA | Yes |  |  | FRCC | FRCC | 1
SEC | TEC | Yes |  |  | FRCC | FRCC | 1
SEPA | DUK | Yes |  |  | SERC | SERC | 1
SEPA | SC | Yes |  |  | SERC | SCRTP | 1
SEPA | SCEG | Yes |  |  | SERC | SCRTP | 1
SEPA | SOCO | Yes |  |  | SERC | SERC | 1
SOCO | AEC | No |  | 9/1/2021 | SERC | SERC | 1
SOCO | DUK | Yes |  |  | SERC | SERC | 1
SOCO | FPC | Yes |  |  | SERC | FRCC | 1
SOCO | FPL | Yes |  |  | SERC | FRCC | 1
SOCO | MISO | Yes |  |  | SERC | MISO | 1
SOCO | SC | Yes |  |  | SERC | SCRTP | 1
SOCO | SCEG | Yes |  |  | SERC | SCRTP | 1
SOCO | SEPA | Yes |  |  | SERC | SERC | 1
SOCO | TAL | Yes |  |  | SERC | FRCC | 1
SOCO | TVA | Yes |  |  | SERC | SERC | 1
SPA | AECI | Yes |  |  | SPP | AECI | 1
SPA | MISO | Yes |  |  | SPP | MISO | 1
SPA | SWPP | Yes |  |  | SPP | SPP | 1
SRP | AZPS | Yes |  |  | WestConnect | WestConnect | 0
SRP | CISO | Yes |  |  | WestConnect | CAISO | 0
SRP | DEAA | Yes |  |  | WestConnect | WestConnect | 0
SRP | GRID | Yes | 12/14/2020 |  | WestConnect | NorthernGrid | 0
SRP | HGMA | Yes |  |  | WestConnect | WestConnect | 0
SRP | PNM | No |  | 1/1/2017 | WestConnect | WestConnect | 0
SRP | TEPC | Yes |  |  | WestConnect | WestConnect | 0
SRP | WALC | Yes |  |  | WestConnect | WestConnect | 0
SWPP | AECI | Yes |  |  | SPP | AECI | 1
SWPP | EPE | Yes |  |  | SPP | WestConnect | 0
SWPP | ERCO | Yes |  |  | SPP | ERCOT | 0
SWPP | MISO | Yes |  |  | SPP | MISO | 1
SWPP | PNM | Yes |  |  | SPP | WestConnect | 0
SWPP | PSCO | Yes |  |  | SPP | WestConnect | 0
SWPP | SPA | Yes |  |  | SPP | SPP | 1
SWPP | SPC | Yes | 10/1/2016 |  | SPP | Saskatchewan | 1
SWPP | WACM | Yes |  |  | SPP | WestConnect | 0
SWPP | WAUE | No |  | 10/1/2015 | SPP | #N/A | 0
SWPP | WAUW | Yes |  |  | SPP | WestConnect | 0
TAL | FPC | Yes |  |  | FRCC | FRCC | 1
TAL | SOCO | Yes |  |  | FRCC | SERC | 1
TEC | FMPP | Yes |  |  | FRCC | FRCC | 1
TEC | FPC | Yes |  |  | FRCC | FRCC | 1
TEC | FPL | Yes |  |  | FRCC | FRCC | 1
TEC | SEC | Yes |  |  | FRCC | FRCC | 1
TEPC | AZPS | Yes |  |  | WestConnect | WestConnect | 0
TEPC | EPE | Yes |  |  | WestConnect | WestConnect | 0
TEPC | PNM | Yes |  |  | WestConnect | WestConnect | 0
TEPC | SRP | Yes |  |  | WestConnect | WestConnect | 0
TEPC | WALC | Yes |  |  | WestConnect | WestConnect | 0
TIDC | BANC | Yes |  |  | CAISO | CAISO | 0
TIDC | CISO | Yes |  |  | CAISO | CAISO | 0
TPWR | BPAT | Yes |  |  | NorthernGrid | NorthernGrid | 0
TPWR | PSEI | Yes |  |  | NorthernGrid | NorthernGrid | 0
TVA | AECI | Yes |  |  | SERC | AECI | 1
TVA | CPLW | Yes |  |  | SERC | SERC | 1
TVA | DUK | Yes |  |  | SERC | SERC | 1
TVA | EEI | No |  | 2/29/2020 | SERC | #N/A | 0
TVA | LGEE | Yes |  |  | SERC | SERC | 1
TVA | MISO | Yes |  |  | SERC | MISO | 1
TVA | PJM | Yes |  |  | SERC | PJM | 1
TVA | SOCO | Yes |  |  | SERC | SERC | 1
WACM | AZPS | Yes |  |  | WestConnect | WestConnect | 0
WACM | PACE | Yes |  |  | WestConnect | NorthernGrid | 0
WACM | PNM | Yes |  |  | WestConnect | WestConnect | 0
WACM | PSCO | Yes |  |  | WestConnect | WestConnect | 0
WACM | SWPP | Yes |  |  | WestConnect | SPP | 0
WACM | WALC | Yes |  |  | WestConnect | WestConnect | 0
WACM | WAUE | No |  | 10/1/2015 | WestConnect | #N/A | 0
WACM | WAUW | Yes |  |  | WestConnect | WestConnect | 0
WALC | AZPS | Yes |  |  | WestConnect | WestConnect | 0
WALC | CISO | Yes |  |  | WestConnect | CAISO | 0
WALC | GRIF | Yes |  |  | WestConnect | WestConnect | 0
WALC | IID | Yes |  |  | WestConnect | CAISO | 0
WALC | LDWP | Yes |  |  | WestConnect | CAISO | 0
WALC | NEVP | Yes |  |  | WestConnect | NorthernGrid | 0
WALC | SRP | Yes |  |  | WestConnect | WestConnect | 0
WALC | TEPC | Yes |  |  | WestConnect | WestConnect | 0
WALC | WACM | Yes |  |  | WestConnect | WestConnect | 0
WAUE | AECI | No |  | 10/1/2015 | #N/A | AECI | 0
WAUE | MISO | No |  | 10/1/2015 | #N/A | MISO | 0
WAUE | SWPP | No |  | 10/1/2015 | #N/A | SPP | 0
WAUE | WACM | No |  | 10/1/2015 | #N/A | WestConnect | 0
WAUE | WAUW | No |  | 10/1/2015 | #N/A | WestConnect | 0
WAUW | NWMT | Yes |  |  | WestConnect | NorthernGrid | 0
WAUW | SWPP | Yes |  |  | WestConnect | SPP | 0
WAUW | WACM | Yes |  |  | WestConnect | WestConnect | 0
WAUW | WAUE | No |  | 10/1/2015 | WestConnect | #N/A | 0
WWA | NWMT | Yes |  |  | NorthernGrid | NorthernGrid | 0
YAD | CPLE | Yes |  |  | SERC | SERC | 1
YAD | DUK | Yes |  |  | SERC | SERC | 1