## Region_mapping_SIIP_EI
region | EI | region_name | superzone | CountryInterconnect | EIA BA Mapping | Notes
101 | EI | ISO-NE | ISO-NE | USA-EI | ISNE |  | Indicates region not in data file - hidden
102 | EI | NYISO | NYISO | USA-EI | NYIS |  | Doc with all the codes:
103 | EI | IESO | Ontario | Canada-EI | IESO |  | https://rfirst.org/ProgramAreas/ESP/ERAG/MMWG/ERAG%20%20MMWG%20Library/MMWG_Procedural_Manual_v34.pdf
107 | EI | CORNWALL | Ontario | Canada-EI | HQT | Sounds like Cornwall is primarily connected to HQT grid not Ontario | Good NERC Map: https://www.nerc.com/AboutNERC/keyplayers/PublishingImages/BA%20Bubble%20Map%2020191106.tif
104 | EI | TE | Quebec | Canada-EI | HQT |  | Another NERC Map; https://www.nerc.com/AboutNERC/keyplayers/PublishingImages/NERC%20Assessment%20Areas.png
105 | EI | NB | NewBrunswick | Canada-EI | NBSO |  | First digit of region number
108 | EI | NF | NewFoundland | Canada-EI | N/A |  | 1 | NPCC
106 | EI | NS | NovaScotia | Canada-EI |  | Not in EIA data (never interfaces directly with US) and only interfaces with NBSO in our model - no historical data to compare to and should not be summed with anything else | 2 | RFC
201 | EI | APS | PJM | USA-EI | PJM | Allegheny power zone (AP subregion?) | 3 | SERC
202 | EI | ATSI | PJM | USA-EI | PJM | American transmission systems inc (ATSI Subregion) | 4 | FRCC
205 | EI | AEP | PJM | USA-EI | PJM | American electric power zone (AEP subregion) | 5 | SPP
206 | EI | OVEC | PJM | USA-EI | PJM | Retired 5 months after EIA data reporting started so count as PJM where it's been since | 6 | MRO
209 | EI | DAY | PJM | USA-EI | PJM | Dayton Power and Light Zone (DAY subregion) | 7 | ERCOT
212 | EI | DEO&K | PJM | USA-EI | PJM | Duke Energy Ohio Kentucky Zone (DEOK subregion) | 8 | WECC
215 | EI | DLCO | PJM | USA-EI | PJM | Duquesne Lighting Company Zone (DUQ subregion) | 9
222 | EI | CE | PJM | USA-EI | PJM | Commonwealth Edison (CE subregion)
225 | EI | PJM | PJM | USA-EI | PJM | ?
226 | EI | PENELEC | PJM | USA-EI | PJM | Pennsylvania Electric Zone (PN subregion?)
227 | EI | ME | PJM | USA-EI | PJM | Metropolitan Edison Zone (ME subregion)
228 | EI | JCPL | PJM | USA-EI | PJM | Jersey Central Power and Light Zone (JC subregion)
229 | EI | PL | PJM | USA-EI | PJM | Pennsylvania Power & Light zone
230 | EI | PECO | PJM | USA-EI | PJM | PECO Energy Zone (PE subregion)
231 | EI | PSEG | PJM | USA-EI | PJM | Public Service Enterprise Group (PS Subregion?)
232 | EI | BGE | PJM | USA-EI | PJM | Baltimore Gas and Electric (BGE Subregion?)
233 | EI | PEPCO | PJM | USA-EI | PJM | Potomac Electric Power Co (PEP Subregion?)
234 | EI | AE | PJM | USA-EI | PJM | Atlantic Electric Zone (AE subregion)
207 | EI | HE | MISO | USA-EI | MISO | Zone 6 (0006 subregion)
208 | EI | DEI | MISO | USA-EI | MISO | Duke Energy Indiana (0006 subregion?)
235 | EI | DP&L | PJM | USA-EI | PJM | Delmarva Power and Light Zone (DPL subregion)
236 | EI | UGI | PJM | USA-EI | PJM | UGI Utilities
210 | EI | SIGE | MISO | USA-EI | MISO | Zone 6 (0006 subregion)
237 | EI | RECO | PJM | USA-EI | PJM | Rockland Electric (East) Zone (RECO subregion)
216 | EI | IPL | MISO | USA-EI | MISO | Zone 6 (0006 subregion)
217 | EI | NIPS | MISO | USA-EI | MISO | Zone 6 (0006 subregion)
218 | EI | METC | MISO | USA-EI | MISO | Zone 7? (0027 subregion?)
219 | EI | ITCT | MISO | USA-EI | MISO | Zone 7? (0027 subregion?)
238 | EI | SMECO | PJM | USA-EI | PJM | Southern Maryland Electric Cooperative
330 | EI | AECI | SERTP | USA-EI | AECI | Associated Electric Cooperative Inc Note this was removed from the FERC summation
295 | EI | WEC | MISO | USA-EI | MISO | Louisiana Generating Zone 9 (8910 subregion)
340 | EI | CPLE | SERTP | USA-EI | CPLE | Duke Energy Progress East
341 | EI | CPLW | SERTP | USA-EI | CPLW | Duke Energy Progress West
342 | EI | DUK | SERTP | USA-EI | DUK | Duke Energy Carolinas
344 | EI | SC | SERTP | USA-EI | SC | South Carolina Public Service Authority
320 | EI | EKPC | PJM | USA-EI | PJM | East Kentucky Power Cooperative (EKPC subregion)
350 | EI | PS | SERTP | USA-EI | N/A
346 | EI | SOCO | SERTP | USA-EI | SOCO | Southern Company Services Inc
348 | EI | GULF | SERTP | USA-EI | SOCO | Originally part of SERC but merged with FRCC (FPL) as of 2023. Pre 2022 (or 2019), part of SOCO. Now part of FPL but because this mapping has it under SERTP, going with SOCO
296 | EI | MIUP | MISO | USA-EI | MISO | South Mississippi Electric Power Zone 10 (8910 subregion)
363 | EI | LGEE | SERTP | USA-EI | LGEE | Louisville Gas and Electric Company and Kentucky Utilities Company
364 | EI | OMUA | SERTP | USA-EI | LGEE | Owensboro municipal utilities Considering joining MISO eventually but sounds like it's still part of LGEE BA
314 | EI | BREC | MISO | USA-EI | MISO | Zone 9 (8910 subregion)
315 | EI | HMPL | MISO | USA-EI | MISO | Zone 10 - EMBA used to be EMI - Entergy Mississippi. (8910 subregion)
326 | EI | EES-EMI | MISO | USA-EI | MISO | Zone 8 - Entergy Arkansa. (8910 subregion)
352 | EI | YAD | SERTP | USA-EI | YAD
353 | EI | SEHA | SERTP | USA-EI | SEPA | SEPA Hartwell
354 | EI | SERU | SERTP | USA-EI | SEPA | SEPA Russell
355 | EI | SETH | SERTP | USA-EI | SEPA | SEPA Thrumond
345 | EI | DVP | PJM | USA-EI | PJM | Dominion Virginia Power (DOM subregion)
327 | EI | EES-EAI | MISO | USA-EI | MISO | Zone 6 (0006 subregion)
332 | EI | LAGN | MISO | USA-EI | MISO | Henderson Municipal Power and Light Zone 6 (0006 subregion)
333 | EI | CWLD | MISO | USA-EI | MISO | Zone 5 (0035 subregion)
349 | EI | SMEPA | MISO | USA-EI | MISO | Zone 4 (0004 subregion)
351 | EI | EES | MISO | USA-EI | MISO | Zone 5 (0035 subregion)
356 | EI | AMMO | MISO | USA-EI | MISO | Zone 4 (0004 subregion)
357 | EI | AMIL | MISO | USA-EI | MISO | Zone 4 (0004 subregion)
360 | EI | CWLP | MISO | USA-EI | MISO | Zone 4 (0004 subregion)
347 | EI | TVA | SERTP | USA-EI | TVA | Tenn Valley Auhority
343 | EI | SCEG | SERTP | USA-EI | SCEG | South Carolina Electric and Gas
365 | EI | SMT | SERTP | USA-EI | TVA | Smoky Mountain Transmission
401 | EI | FPL | FRCC | USA-EI | FPL | Florida Power and Light
366 | EI | TAP | SERTP | USA-EI | N/A | APGI-Tapoco
402 | EI | DEF | FRCC | USA-EI | FPC | Duke Energy Florida aka Progress Energy Florida aka Florida Progress Corporation
403 | EI | FTP | FRCC | USA-EI | FMPP | Fort Pierce Utility Authority, one of the owners of FMPP
404 | EI | GVL | FRCC | USA-EI | GVL | Gainesville Regional Utilities
405 | EI | HST | FRCC | USA-EI | HST | City of Homestead
406 | EI | JEA | FRCC | USA-EI | JEA | Jacksonville Electric Authority
407 | EI | KEY | FRCC | USA-EI | FMPP | City of Key West
409 | EI | LWU | FRCC | USA-EI | FMPP | City of Lake Worth Utility
410 | EI | NSB | FRCC | USA-EI | NSB
411 | EI | FMPP | FRCC | USA-EI | FMPP | Florida Municipal Power Pool
412 | EI | SEC | FRCC | USA-EI | SEC | Seminole Electric Cooperative
415 | EI | TAL | FRCC | USA-EI | TAL | City of Tallahassee
416 | EI | TECO | FRCC | USA-EI | TEC | Tampa Electric Company
417 | EI | FMP | FRCC | USA-EI | FPL | Now part of FPL but was once part of FMPP
418 | EI | NUG | FRCC | USA-EI | N/A
419 | EI | RCU | FRCC | USA-EI | TEC | in FRCC, subcontracts from TECO so best guess to include it in that EIA BA
361 | EI | SIPC | MISO | USA-EI | MISO | Zone 9 (8910 subregion)
362 | EI | GLH | MISO | USA-EI | MISO | Zone 9 (8910 subregion)
502 | EI | CLEC | MISO | USA-EI | MISO | Zone 9 (8910 subregion)
506 | EI | MJMEUC | SPP | USA-EI | SWPP | Missouri Joint Municipal Electric Utility Commission
511 | EI | AECC | SPP | USA-EI | SWPP | Arkansas Electric Cooperative
515 | EI | SWPA | SPP | USA-EI | SPA
520 | EI | AEPW | SPP | USA-EI | SWPP | (AEPW subregion)
523 | EI | GRDA | SPP | USA-EI | SWPP | (GRDA subregion)
524 | EI | OKGE | SPP | USA-EI | SWPP | (OKGE subregion)
525 | EI | WFEC | SPP | USA-EI | SWPP | (WFEC subregion)
526 | EI | SPS | SPP | USA-EI | SWPP | (SPS subregion)
527 | EI | OMPA | SPP | USA-EI | SWPP
531 | EI | MIDW | SPP | USA-EI | SWPP
534 | EI | SUNC | SPP | USA-EI | SWPP | (SECI subregion)
536 | EI | WERE | SPP | USA-EI | SWPP | (WR subregion)
540 | EI | GMO | SPP | USA-EI | SWPP | Greater Missouri Operations Company
541 | EI | KCPL | SPP | USA-EI | SWPP | (KCPL subregion)
542 | EI | KACY | SPP | USA-EI | SWPP | (KACY subregion)
544 | EI | EMDE | SPP | USA-EI | SWPP | (EDE subregion)
545 | EI | INDN | SPP | USA-EI | SWPP | (INDN subregion)
998 | EI | ERCOT | SPP | USA-EI | ERCO
999 | EI | WECC | SPP | USA-EI | N/A
503 | EI | LAFA | MISO | USA-EI | MISO | Zone 1 Northern States Power Co aka Xcel (0001 subregion)
504 | EI | LEPA | MISO | USA-EI | MISO | Zone 1 (0001 subregion)
546 | EI | SPRM | SPP | USA-EI | SWPP | (SPRM subregion)
600 | EI | XEL | MISO | USA-EI | MISO | Zone 1 (0001 subregion)
608 | EI | MP | MISO | USA-EI | MISO | Zone 3 (0035 subregion)
613 | EI | SMMPA | MISO | USA-EI | MISO | Zone 1 (0001 subregion)
615 | EI | GRE | MISO | USA-EI | MISO | Zone 1 ask SMP Southern Minnesota Municipal Power (0001 subregion)
620 | EI | OTP | MISO | USA-EI | MISO | Zone 1 (0001 subregion)
640 | EI | NPPD | SPP | USA-EI | SWPP | (NPPD subregion)
627 | EI | ALTW | MISO | USA-EI | MISO | Zone 3 (0035 subregion)
633 | EI | MPW | MISO | USA-EI | MISO | Zone 3 (0035 subregion)
641 | EI | HAST | SPP | USA-EI | SWPP | Hastings (NPPD subregion)
642 | EI | GRIS | SPP | USA-EI | SWPP | (NPPD subregion)
645 | EI | OPPD | SPP | USA-EI | SWPP | (OPPD subregion)
650 | EI | LES | SPP | USA-EI | SWPP | Southwest Power Pool (LES subregion)
652 | EI | WAPA | SPP | USA-EI | SWPP | (WAUE subregion)
659 | EI | BEPC-SPP | SPP | USA-EI | SWPP
997 | EI | WBDC-WECC | SPP | USA-EI | SWPP
635 | EI | MEC | MISO | USA-EI | MISO | Zone 1 (0001 subregion)
663 | EI | BEPC-MISO | MISO | USA-EI | MISO
667 | EI | MH | Manitoba | Canada-EI | MHEB
672 | EI | SPC | Saskatchewan | Canada-EI | SPC
661 | EI | MDU | MISO | USA-EI | MISO | Zone 2 (0027 subregion)
680 | EI | DPC | MISO | USA-EI | MISO | Zone 2 (0027 subregion)
694 | EI | ALTE | MISO | USA-EI | MISO | Zone 2 (0027 subregion)
696 | EI | WPS | MISO | USA-EI | MISO | Zone 2 (0027 subregion)
697 | EI | MGE | MISO | USA-EI | MISO | Zone 2 (0027 subregion)
698 | EI | UPPC | MISO | USA-EI | MISO | Zone 2 (0027 subregion)
373 | EI | GLHB | MISO | USA-EI | GLHB
421 | EI | TCEC | FRCC | USA-EI | FMPP | Treasure Coast Energy Center - generating plant for FMPP
426 | EI | OSC | FRCC | USA-EI | FPC | Osceola at Holopaw
427 | EI | OLEANDER | FRCC | USA-EI | FPL
428 | EI | CALPINE | FRCC | USA-EI | TEC
433 | EI | HPS | FRCC | USA-EI | TEC
436 | EI | DESOTOGEN | FRCC | USA-EI | FPL
438 | EI | IPP-REL | FRCC | USA-EI | FMPP | Reliant at Indian River

## EIA BAs
Code | Name | Time Zone | Region | Retirement Date
AEC | PowerSouth Energy Cooperative | Central | Southeast | 2021-09-01
AECI | Associated Electric Cooperative, Inc. | Central | Midwest
AESO | Alberta Electric System Operator |  | Canada
AVA | Avista Corporation | Pacific | Northwest
AVRN | Avangrid Renewables, LLC | Pacific | Northwest
AZPS | Arizona Public Service Company | Arizona | Southwest
BANC | Balancing Authority of Northern California | Pacific | California
BCHA | British Columbia Hydro and Power Authority |  | Canada
BPAT | Bonneville Power Administration | Pacific | Northwest
CEN | Centro Nacional de Control de Energia |  | Mexico
CFE | Comision Federal de Electricidad |  | Mexico | 2018-07-01
CHPD | Public Utility District No. 1 of Chelan County | Pacific | Northwest
CISO | California Independent System Operator | Pacific | California
CPLE | Duke Energy Progress East | Eastern | Carolinas
CPLW | Duke Energy Progress West | Eastern | Carolinas
DEAA | Arlington Valley, LLC | Arizona | Southwest
DOPD | PUD No. 1 of Douglas County | Pacific | Northwest
DUK | Duke Energy Carolinas | Eastern | Carolinas
EEI | Electric Energy, Inc. | Central | Midwest | 2020-02-29
EPE | El Paso Electric Company | Arizona | Southwest
ERCO | Electric Reliability Council of Texas, Inc. | Central | Texas
FMPP | Florida Municipal Power Pool | Eastern | Florida
FPC | Duke Energy Florida, Inc. | Eastern | Florida
FPL | Florida Power & Light Co. | Eastern | Florida
GCPD | Public Utility District No. 2 of Grant County, Washington | Pacific | Northwest
GLHB | GridLiance | Central | Midwest | 2022-09-01
GRID | Gridforce Energy Management, LLC | Pacific | Northwest
GRIF | Griffith Energy, LLC | Arizona | Southwest
GRMA | Gila River Power, LLC | Arizona | Southwest | 2018-05-03
GVL | Gainesville Regional Utilities | Eastern | Florida
GWA | NaturEner Power Watch, LLC | Mountain | Northwest
HGMA | New Harquahala Generating Company, LLC | Arizona | Southwest
HQT | Hydro-Quebec TransEnergie |  | Canada
HST | City of Homestead | Eastern | Florida
IESO | Ontario IESO |  | Canada
IID | Imperial Irrigation District | Pacific | California
IPCO | Idaho Power Company | Pacific | Northwest
ISNE | ISO New England | Eastern | New England
JEA | JEA | Eastern | Florida
LDWP | Los Angeles Department of Water and Power | Pacific | California
LGEE | Louisville Gas and Electric Company and Kentucky Utilities Company | Eastern | Midwest
MHEB | Manitoba Hydro |  | Canada
MISO | Midcontinent Independent System Operator, Inc. | Eastern | Midwest
NBSO | New Brunswick System Operator |  | Canada
NE | New England | Eastern
NEVP | Nevada Power Company | Pacific | Northwest
NSB | Utilities Commission of New Smyrna Beach | Eastern | Florida | 2020-01-08
NWMT | NorthWestern Corporation | Mountain | Northwest
NY | New York | Eastern
NYIS | New York Independent System Operator | Eastern | New York
OVEC | Ohio Valley Electric Corporation | Eastern | Mid-Atlantic | 2018-12-01
PACE | PacifiCorp East | Mountain | Northwest
PACW | PacifiCorp West | Pacific | Northwest
PGE | Portland General Electric Company | Pacific | Northwest
PJM | PJM Interconnection, LLC | Eastern | Mid-Atlantic
PNM | Public Service Company of New Mexico | Arizona | Southwest
PSCO | Public Service Company of Colorado | Mountain | Northwest
PSEI | Puget Sound Energy, Inc. | Pacific | Northwest
SC | South Carolina Public Service Authority | Eastern | Carolinas
SCEG | Dominion Energy South Carolina, Inc. | Eastern | Carolinas
SCL | Seattle City Light | Pacific | Northwest
SEC | Seminole Electric Cooperative | Eastern | Florida
SEPA | Southeastern Power Administration | Central | Southeast
SOCO | Southern Company Services, Inc. - Trans | Central | Southeast
SPA | Southwestern Power Administration | Central | Central
SPC | Saskatchewan Power Corporation |  | Canada
SRP | Salt River Project Agricultural Improvement and Power District | Arizona | Southwest
SWPP | Southwest Power Pool | Central | Central
TAL | City of Tallahassee | Eastern | Florida
TEC | Tampa Electric Company | Eastern | Florida
TEN | Tennessee | Central
TEPC | Tucson Electric Power | Arizona | Southwest
TEX | Texas | Central
TIDC | Turlock Irrigation District | Pacific | California
TPWR | City of Tacoma, Department of Public Utilities, Light Division | Pacific | Northwest
TVA | Tennessee Valley Authority | Central | Tennessee
WACM | Western Area Power Administration - Rocky Mountain Region | Arizona | Northwest
WALC | Western Area Power Administration - Desert Southwest Region | Arizona | Southwest
WAUW | Western Area Power Administration - Upper Great Plains West | Mountain | Northwest
WWA | NaturEner Wind Watch, LLC | Mountain | Northwest
YAD | Alcoa Power Generating, Inc. - Yadkin Division | Eastern | Carolinas

## NAERM Interfaces
Interface_Code | Left | Right | Left NAERM Subregion | Right NAERM Subregion | Left BA FERC Region | Right BA FERC Region | FERC Interface? | Left EIA BA | Right EIA BA | EIA BA Interface?
357_361 | 357 | 361 | AMIL | SIPC | MISO | MISO | 0 | MISO | MISO | 0 | 101 | 101
600_620 | 600 | 620 | XEL | OTP | MISO | MISO | 0 | MISO | MISO | 0 | 102 | 102
104_101 | 104 | 101 | TE | ISO-NE | Quebec | ISONE | 1 | HQT | ISNE | 1 | 103 | 103
411_402 | 411 | 402 | FMPP | DEF | FRCC | FRCC | 0 | FMPP | FPC | 1 | 104 | 104
544_330 | 544 | 330 | EMDE | AECI | SPP | AECI | 1 | SWPP | AECI | 1 | 105 | 105
627_633 | 627 | 633 | ALTW | MPW | MISO | MISO | 0 | MISO | MISO | 0 | 106 | 106
342_365 | 342 | 365 | DUK | SMT | SERC | SERC | 0 | DUK | TVA | 1 | 107 | 107
544_327 | 544 | 327 | EMDE | EES-EAI | SPP | MISO | 1 | SWPP | MISO | 1 |  | 108
345_205 | 345 | 205 | DVP | AEP | PJM | PJM | 0 | PJM | PJM | 0
344_355 | 344 | 355 | SC | SETH | SCRTP | SERC | 1 | SC | SEPA | 1 | 201 | 201
661_652 | 661 | 652 | MDU | WAPA | MISO | SPP | 1 | MISO | SWPP | 1 | 202 | 202
205_342 | 205 | 342 | AEP | DUK | PJM | SERC | 1 | PJM | DUK | 1 | 205 | 205
544_515 | 544 | 515 | EMDE | SWPA | SPP | SPP | 0 | SWPP | SPA | 1 | 206 | 206
232_230 | 232 | 230 | BGE | PECO | PJM | PJM | 0 | PJM | PJM | 0
225_231 | 225 | 231 | PJM | PSEG | PJM | PJM | 0 | PJM | PJM | 0 | 207 | 207
333_330 | 333 | 330 | CWLD | AECI | MISO | AECI | 1 | MISO | AECI | 1 | 208 | 208
342_355 | 342 | 355 | DUK | SETH | SERC | SERC | 0 | DUK | SEPA | 1 | 209 | 209
696_295 | 696 | 295 | WPS | WEC | MISO | MISO | 0 | MISO | MISO | 0 | 210 | 210
101_102 | 101 | 102 | ISO-NE | NYISO | ISONE | NYISO | 1 | ISNE | NYIS | 1 | 212 | 212
667_608 | 667 | 608 | MH | MP | Manitoba | MISO | 1 | MHEB | MISO | 1 | 215 | 215
362_356 | 362 | 356 | GLH | AMMO | MISO | MISO | 0 | MISO | MISO | 0 | 216 | 216
233_201 | 233 | 201 | PEPCO | APS | PJM | PJM | 0 | PJM | PJM | 0 | 217 | 217
546_520 | 546 | 520 | SPRM | AEPW | SPP | SPP | 0 | SWPP | SWPP | 0 | 218 | 218
332_502 | 332 | 502 | LAGN | CLEC | MISO | MISO | 0 | MISO | MISO | 0 | 219 | 219
541_545 | 541 | 545 | KCPL | INDN | SPP | SPP | 0 | SWPP | SWPP | 0 | 222 | 222
345_340 | 345 | 340 | DVP | CPLE | PJM | SERC | 1 | PJM | CPLE | 1 | 225 | 225
363_320 | 363 | 320 | LGEE | EKPC | SERC | PJM | 1 | LGEE | PJM | 1 | 226 | 226
218_219 | 218 | 219 | METC | ITCT | MISO | MISO | 0 | MISO | MISO | 0 | 227 | 227
208_212 | 208 | 212 | DEI | DEO&K | MISO | PJM | 1 | MISO | PJM | 1 | 228 | 228
222_357 | 222 | 357 | CE | AMIL | PJM | MISO | 1 | PJM | MISO | 1 | 229 | 229
208_216 | 208 | 216 | DEI | IPL | MISO | MISO | 0 | MISO | MISO | 0 | 230 | 230
103_608 | 103 | 608 | IESO | MP | Ontario | MISO | 1 | IESO | MISO | 1 | 231 | 231
527_524 | 527 | 524 | OMPA | OKGE | SPP | SPP | 0 | SWPP | SWPP | 0 | 232 | 232
343_346 | 343 | 346 | SCEG | SOCO | SCRTP | SERC | 1 | SCEG | SOCO | 1 | 233 | 233
361_314 | 361 | 314 | SIPC | BREC | MISO | MISO | 0 | MISO | MISO | 0 | 234 | 234
527_525 | 527 | 525 | OMPA | WFEC | SPP | SPP | 0 | SWPP | SWPP | 0
320_209 | 320 | 209 | EKPC | DAY | PJM | PJM | 0 | PJM | PJM | 0 | 235 | 235
401_421 | 401 | 421 | FPL | TCEC | FRCC | FRCC | 0 | FPL | FMPP | 1 | 236 | 236
212_206 | 212 | 206 | DEO&K | OVEC | PJM | PJM | 0 | PJM | PJM | 0 | 237 | 237
536_534 | 536 | 534 | WERE | SUNC | SPP | SPP | 0 | SWPP | SWPP | 0 | 238 | 238
401_409 | 401 | 409 | FPL | LWU | FRCC | FRCC | 0 | FPL | FMPP | 1 | 295 | 295
327_356 | 327 | 356 | EES-EAI | AMMO | MISO | MISO | 0 | MISO | MISO | 0
627_680 | 627 | 680 | ALTW | DPC | MISO | MISO | 0 | MISO | MISO | 0 | 296 | 296
347_314 | 347 | 314 | TVA | BREC | SERC | MISO | 1 | TVA | MISO | 1 | 314 | 314
327_326 | 327 | 326 | EES-EAI | EES-EMI | MISO | MISO | 0 | MISO | MISO | 0 | 315 | 315
227_201 | 227 | 201 | ME | APS | PJM | PJM | 0 | PJM | PJM | 0 | 320 | 320
652_620 | 652 | 620 | WAPA | OTP | SPP | MISO | 1 | SWPP | MISO | 1 | 326 | 326
229_230 | 229 | 230 | PL | PECO | PJM | PJM | 0 | PJM | PJM | 0 | 327 | 327
330_545 | 330 | 545 | AECI | INDN | AECI | SPP | 1 | AECI | SWPP | 1 | 330 | 330
524_526 | 524 | 526 | OKGE | SPS | SPP | SPP | 0 | SWPP | SWPP | 0 | 332 | 332
363_207 | 363 | 207 | LGEE | HE | SERC | MISO | 1 | LGEE | MISO | 1 | 333 | 333
355_346 | 355 | 346 | SETH | SOCO | SERC | SERC | 0 | SEPA | SOCO | 1 | 340 | 340
503_351 | 503 | 351 | LAFA | EES | MISO | MISO | 0 | MISO | MISO | 0 | 341 | 341
332_351 | 332 | 351 | LAGN | EES | MISO | MISO | 0 | MISO | MISO | 0 | 342 | 342
696_608 | 696 | 608 | WPS | MP | MISO | MISO | 0 | MISO | MISO | 0 | 343 | 343
401_407 | 401 | 407 | FPL | KEY | FRCC | FRCC | 0 | FPL | FMPP | 1 | 344 | 344
227_230 | 227 | 230 | ME | PECO | PJM | PJM | 0 | PJM | PJM | 0 | 345 | 345
340_343 | 340 | 343 | CPLE | SCEG | SERC | SCRTP | 1 | CPLE | SCEG | 1 | 346 | 346
502_351 | 502 | 351 | CLEC | EES | MISO | MISO | 0 | MISO | MISO | 0 | 347 | 347
357_356 | 357 | 356 | AMIL | AMMO | MISO | MISO | 0 | MISO | MISO | 0 | 348 | 348
412_402 | 412 | 402 | SEC | DEF | FRCC | FRCC | 0 | SEC | FPC | 1 | 349 | 349
523_515 | 523 | 515 | GRDA | SWPA | SPP | SPP | 0 | SWPP | SPA | 1 |  | 350
340_352 | 340 | 352 | CPLE | YAD | SERC | SERC | 0 | CPLE | YAD | 1
205_208 | 205 | 208 | AEP | DEI | PJM | MISO | 1 | PJM | MISO | 1 | 351 | 351
627_330 | 627 | 330 | ALTW | AECI | MISO | AECI | 1 | MISO | AECI | 1 |  | 352
347_349 | 347 | 349 | TVA | SMEPA | SERC | MISO | 1 | TVA | MISO | 1 | 353 | 353
696_694 | 696 | 694 | WPS | ALTE | MISO | MISO | 0 | MISO | MISO | 0 | 354 | 354
205_345 | 205 | 345 | AEP | DVP | PJM | PJM | 0 | PJM | PJM | 0 | 355 | 355
218_296 | 218 | 296 | METC | MIUP | MISO | MISO | 0 | MISO | MISO | 0 | 356 | 356
697_694 | 697 | 694 | MGE | ALTE | MISO | MISO | 0 | MISO | MISO | 0 | 357 | 357
536_541 | 536 | 541 | WERE | KCPL | SPP | SPP | 0 | SWPP | SWPP | 0 | 360 | 360
233_345 | 233 | 345 | PEPCO | DVP | PJM | PJM | 0 | PJM | PJM | 0 | 361 | 361
635_356 | 635 | 356 | MEC | AMMO | MISO | MISO | 0 | MISO | MISO | 0 | 362 | 362
327_330 | 327 | 330 | EES-EAI | AECI | MISO | AECI | 1 | MISO | AECI | 1 | 363 | 363
363_362 | 363 | 362 | LGEE | GLH | SERC | MISO | 1 | LGEE | MISO | 1 | 364 | 364
615_613 | 615 | 613 | GRE | SMMPA | MISO | MISO | 0 | MISO | MISO | 0 | 365 | 365
227_226 | 227 | 226 | ME | PENELEC | PJM | PJM | 0 | PJM | PJM | 0 |  | 366
520_330 | 520 | 330 | AEPW | AECI | SPP | AECI | 1 | SWPP | AECI | 1 |  | 373
506_330 | 506 | 330 | MJMEUC | AECI | SPP | AECI | 1 | SWPP | AECI | 1
515_327 | 515 | 327 | SWPA | EES-EAI | SPP | MISO | 1 | SPA | MISO | 1
230_232 | 230 | 232 | PECO | BGE | PJM | PJM | 0 | PJM | PJM | 0 | 401 | 401
536_531 | 536 | 531 | WERE | MIDW | SPP | SPP | 0 | SWPP | SWPP | 0 | 402 | 402
347_363 | 347 | 363 | TVA | LGEE | SERC | SERC | 0 | TVA | LGEE | 1 | 403 | 403
652_330 | 652 | 330 | WAPA | AECI | SPP | AECI | 1 | SWPP | AECI | 1 | 404 | 404
661_620 | 661 | 620 | MDU | OTP | MISO | MISO | 0 | MISO | MISO | 0 | 405 | 405
215_201 | 215 | 201 | DLCO | APS | PJM | PJM | 0 | PJM | PJM | 0 | 406 | 406
544_546 | 544 | 546 | EMDE | SPRM | SPP | SPP | 0 | SWPP | SWPP | 0
696_600 | 696 | 600 | WPS | XEL | MISO | MISO | 0 | MISO | MISO | 0 | 407 | 407
348_401 | 348 | 401 | GULF | FPL | SERC | FRCC | 1 | SOCO | FPL | 1 | 409 | 409
205_216 | 205 | 216 | AEP | IPL | PJM | MISO | 1 | PJM | MISO | 1 |  | 410
363_212 | 363 | 212 | LGEE | DEO&K | SERC | PJM | 1 | LGEE | PJM | 1 | 411 | 411
233_238 | 233 | 238 | PEPCO | SMECO | PJM | PJM | 0 | PJM | PJM | 0 | 412 | 412
222_694 | 222 | 694 | CE | ALTE | PJM | MISO | 1 | PJM | MISO | 1 | 415 | 415
416_402 | 416 | 402 | TECO | DEF | FRCC | FRCC | 0 | TEC | FPC | 1 | 416 | 416
347_362 | 347 | 362 | TVA | GLH | SERC | MISO | 1 | TVA | MISO | 1 |  | 417
104_105 | 104 | 105 | TE | NB | Quebec | New Brunswick | 1 | HQT | NBSO | 1 |  | 418
209_202 | 209 | 202 | DAY | ATSI | PJM | PJM | 0 | PJM | PJM | 0 |  | 419
104_107 | 104 | 107 | TE | CORNWALL | Quebec | Quebec | 0 | HQT | HQT | 0 | 421 | 421
697_696 | 697 | 696 | MGE | WPS | MISO | MISO | 0 | MISO | MISO | 0
222_635 | 222 | 635 | CE | MEC | PJM | MISO | 1 | PJM | MISO | 1 | 426 | 426
696_296 | 696 | 296 | WPS | MIUP | MISO | MISO | 0 | MISO | MISO | 0 | 427 | 427
640_635 | 640 | 635 | NPPD | MEC | SPP | MISO | 1 | SWPP | MISO | 1 | 428 | 428
237_102 | 237 | 102 | RECO | NYISO | PJM | NYISO | 1 | PJM | NYIS | 1 |  | 433
645_536 | 645 | 536 | OPPD | WERE | SPP | SPP | 0 | SWPP | SWPP | 0 |  | 436
411_401 | 411 | 401 | FMPP | FPL | FRCC | FRCC | 0 | FMPP | FPL | 1 |  | 438
402_415 | 402 | 415 | DEF | TAL | FRCC | FRCC | 0 | FPC | TAL | 1 | 502 | 502
104_103 | 104 | 103 | TE | IESO | Quebec | Ontario | 1 | HQT | IESO | 1 | 503 | 503
231_234 | 231 | 234 | PSEG | AE | PJM | PJM | 0 | PJM | PJM | 0 | 504 | 504
347_341 | 347 | 341 | TVA | CPLW | SERC | SERC | 0 | TVA | CPLW | 1 |  | 506
344_346 | 344 | 346 | SC | SOCO | SCRTP | SERC | 1 | SC | SOCO | 1 |  | 511
642_645 | 642 | 645 | GRIS | OPPD | SPP | SPP | 0 | SWPP | SWPP | 0
640_330 | 640 | 330 | NPPD | AECI | SPP | AECI | 1 | SWPP | AECI | 1 | 515 | 515
202_226 | 202 | 226 | ATSI | PENELEC | PJM | PJM | 0 | PJM | PJM | 0 | 520 | 520
523_520 | 523 | 520 | GRDA | AEPW | SPP | SPP | 0 | SWPP | SWPP | 0 | 523 | 523
104_102 | 104 | 102 | TE | NYISO | Quebec | NYISO | 1 | HQT | NYIS | 1 | 524 | 524
347_365 | 347 | 365 | TVA | SMT | SERC | SERC | 0 | TVA | TVA | 0 | 525 | 525
348_346 | 348 | 346 | GULF | SOCO | SERC | SERC | 0 | SOCO | SOCO | 0 | 526 | 526
229_231 | 229 | 231 | PL | PSEG | PJM | PJM | 0 | PJM | PJM | 0 | 527 | 527
320_212 | 320 | 212 | EKPC | DEO&K | PJM | PJM | 0 | PJM | PJM | 0 | 531 | 531
515_356 | 515 | 356 | SWPA | AMMO | SPP | MISO | 1 | SPA | MISO | 1 | 534 | 534
208_314 | 208 | 314 | DEI | BREC | MISO | MISO | 0 | MISO | MISO | 0 | 536 | 536
502_503 | 502 | 503 | CLEC | LAFA | MISO | MISO | 0 | MISO | MISO | 0 |  | 540
353_346 | 353 | 346 | SEHA | SOCO | SERC | SERC | 0 | SEPA | SOCO | 1 | 541 | 541
428_416 | 428 | 416 | CALPINE | TECO | FRCC | FRCC | 0 | TEC | TEC | 0 | 542 | 542
349_326 | 349 | 326 | SMEPA | EES-EMI | MISO | MISO | 0 | MISO | MISO | 0 | 544 | 544
342_353 | 342 | 353 | DUK | SEHA | SERC | SERC | 0 | DUK | SEPA | 1 | 545 | 545
697_600 | 697 | 600 | MGE | XEL | MISO | MISO | 0 | MISO | MISO | 0 | 546 | 546
640_536 | 640 | 536 | NPPD | WERE | SPP | SPP | 0 | SWPP | SWPP | 0 | 600 | 600
411_438 | 411 | 438 | FMPP | IPP-REL | FRCC | FRCC | 0 | FMPP | FMPP | 0
652_635 | 652 | 635 | WAPA | MEC | SPP | MISO | 1 | SWPP | MISO | 1 | 608 | 608
345_201 | 345 | 201 | DVP | APS | PJM | PJM | 0 | PJM | PJM | 0 | 613 | 613
347_346 | 347 | 346 | TVA | SOCO | SERC | SERC | 0 | TVA | SOCO | 1 | 615 | 615
340_344 | 340 | 344 | CPLE | SC | SERC | SCRTP | 1 | CPLE | SC | 1 | 620 | 620
327_520 | 327 | 520 | EES-EAI | AEPW | MISO | SPP | 1 | MISO | SWPP | 1 | 627 | 627
627_635 | 627 | 635 | ALTW | MEC | MISO | MISO | 0 | MISO | MISO | 0 | 633 | 633
401_416 | 401 | 416 | FPL | TECO | FRCC | FRCC | 0 | FPL | TEC | 1 | 635 | 635
229_227 | 229 | 227 | PL | ME | PJM | PJM | 0 | PJM | PJM | 0 | 640 | 640
357_207 | 357 | 207 | AMIL | HE | MISO | MISO | 0 | MISO | MISO | 0 | 641 | 641
201_202 | 201 | 202 | APS | ATSI | PJM | PJM | 0 | PJM | PJM | 0 | 642 | 642
327_524 | 327 | 524 | EES-EAI | OKGE | MISO | SPP | 1 | MISO | SWPP | 1 | 645 | 645
406_412 | 406 | 412 | JEA | SEC | FRCC | FRCC | 0 | JEA | SEC | 1 | 650 | 650
235_231 | 235 | 231 | DP&L | PSEG | PJM | PJM | 0 | PJM | PJM | 0 | 652 | 652
205_341 | 205 | 341 | AEP | CPLW | PJM | SERC | 1 | PJM | CPLW | 1 |  | 659
600_613 | 600 | 613 | XEL | SMMPA | MISO | MISO | 0 | MISO | MISO | 0 | 661 | 661
347_327 | 347 | 327 | TVA | EES-EAI | SERC | MISO | 1 | TVA | MISO | 1 |  | 663
330_524 | 330 | 524 | AECI | OKGE | AECI | SPP | 1 | AECI | SWPP | 1 | 667 | 667
347_205 | 347 | 205 | TVA | AEP | SERC | PJM | 1 | TVA | PJM | 1 | 672 | 672
401_403 | 401 | 403 | FPL | FTP | FRCC | FRCC | 0 | FPL | FMPP | 1 | 680 | 680
502_504 | 502 | 504 | CLEC | LEPA | MISO | MISO | 0 | MISO | MISO | 0 | 694 | 694
652_672 | 652 | 672 | WAPA | SPC | SPP | Saskatchewan | 1 | SWPP | SPC | 1 | 696 | 696
645_541 | 645 | 541 | OPPD | KCPL | SPP | SPP | 0 | SWPP | SWPP | 0 | 697 | 697
296_698 | 296 | 698 | MIUP | UPPC | MISO | MISO | 0 | MISO | MISO | 0 | 698 | 698
357_635 | 357 | 635 | AMIL | MEC | MISO | MISO | 0 | MISO | MISO | 0 |  | 997
347_320 | 347 | 320 | TVA | EKPC | SERC | PJM | 1 | TVA | PJM | 1 |  | 998
627_357 | 627 | 357 | ALTW | AMIL | MISO | MISO | 0 | MISO | MISO | 0 | 999 | 999
349_346 | 349 | 346 | SMEPA | SOCO | MISO | SERC | 1 | MISO | SOCO | 1
205_202 | 205 | 202 | AEP | ATSI | PJM | PJM | 0 | PJM | PJM | 0
219_103 | 219 | 103 | ITCT | IESO | MISO | Ontario | 1 | MISO | IESO | 1
231_230 | 231 | 230 | PSEG | PECO | PJM | PJM | 0 | PJM | PJM | 0
218_202 | 218 | 202 | METC | ATSI | MISO | PJM | 1 | MISO | PJM | 1
346_351 | 346 | 351 | SOCO | EES | SERC | MISO | 1 | SOCO | MISO | 1
600_680 | 600 | 680 | XEL | DPC | MISO | MISO | 0 | MISO | MISO | 0
106_105 | 106 | 105 | NS | NB | New Brunswick | New Brunswick | 0 | NBSO | NBSO | 0
667_103 | 667 | 103 | MH | IESO | Manitoba | Ontario | 1 | MHEB | IESO | 1
541_356 | 541 | 356 | KCPL | AMMO | SPP | MISO | 1 | SWPP | MISO | 1
652_615 | 652 | 615 | WAPA | GRE | SPP | MISO | 1 | SWPP | MISO | 1
520_524 | 520 | 524 | AEPW | OKGE | SPP | SPP | 0 | SWPP | SWPP | 0
217_218 | 217 | 218 | NIPS | METC | MISO | MISO | 0 | MISO | MISO | 0
205_218 | 205 | 218 | AEP | METC | PJM | MISO | 1 | PJM | MISO | 1
544_520 | 544 | 520 | EMDE | AEPW | SPP | SPP | 0 | SWPP | SWPP | 0
363_206 | 363 | 206 | LGEE | OVEC | SERC | PJM | 1 | LGEE | PJM | 1
640_650 | 640 | 650 | NPPD | LES | SPP | SPP | 0 | SWPP | SWPP | 0
217_222 | 217 | 222 | NIPS | CE | MISO | PJM | 1 | MISO | PJM | 1
541_330 | 541 | 330 | KCPL | AECI | SPP | AECI | 1 | SWPP | AECI | 1
627_615 | 627 | 615 | ALTW | GRE | MISO | MISO | 0 | MISO | MISO | 0
608_615 | 608 | 615 | MP | GRE | MISO | MISO | 0 | MISO | MISO | 0
342_344 | 342 | 344 | DUK | SC | SERC | SCRTP | 1 | DUK | SC | 1
515_525 | 515 | 525 | SWPA | WFEC | SPP | SPP | 0 | SPA | SWPP | 1
296_295 | 296 | 295 | MIUP | WEC | MISO | MISO | 0 | MISO | MISO | 0
205_357 | 205 | 357 | AEP | AMIL | PJM | MISO | 1 | PJM | MISO | 1
416_412 | 416 | 412 | TECO | SEC | FRCC | FRCC | 0 | TEC | SEC | 1
999_526 | 999 | 526 | WECC | SPS | WestConnect | SPP | 1 | N/A | SWPP | 1
536_542 | 536 | 542 | WERE | KACY | SPP | SPP | 0 | SWPP | SWPP | 0
536_524 | 536 | 524 | WERE | OKGE | SPP | SPP | 0 | SWPP | SWPP | 0
525_524 | 525 | 524 | WFEC | OKGE | SPP | SPP | 0 | SWPP | SWPP | 0
640_641 | 640 | 641 | NPPD | HAST | SPP | SPP | 0 | SWPP | SWPP | 0
620_667 | 620 | 667 | OTP | MH | MISO | Manitoba | 1 | MISO | MHEB | 1
327_351 | 327 | 351 | EES-EAI | EES | MISO | MISO | 0 | MISO | MISO | 0
347_357 | 347 | 357 | TVA | AMIL | SERC | MISO | 1 | TVA | MISO | 1
404_402 | 404 | 402 | GVL | DEF | FRCC | FRCC | 0 | GVL | FPC | 1
401_402 | 401 | 402 | FPL | DEF | FRCC | FRCC | 0 | FPL | FPC | 1
406_401 | 406 | 401 | JEA | FPL | FRCC | FRCC | 0 | JEA | FPL | 1
401_412 | 401 | 412 | FPL | SEC | FRCC | FRCC | 0 | FPL | SEC | 1
215_205 | 215 | 205 | DLCO | AEP | PJM | PJM | 0 | PJM | PJM | 0
215_202 | 215 | 202 | DLCO | ATSI | PJM | PJM | 0 | PJM | PJM | 0
627_613 | 627 | 613 | ALTW | SMMPA | MISO | MISO | 0 | MISO | MISO | 0
680_694 | 680 | 694 | DPC | ALTE | MISO | MISO | 0 | MISO | MISO | 0
620_615 | 620 | 615 | OTP | GRE | MISO | MISO | 0 | MISO | MISO | 0
663_661 | 663 | 661 | BEPC-MISO | MDU | MISO | MISO | 0 | MISO | MISO | 0
222_627 | 222 | 627 | CE | ALTW | PJM | MISO | 1 | PJM | MISO | 1
228_227 | 228 | 227 | JCPL | ME | PJM | PJM | 0 | PJM | PJM | 0
659_635 | 659 | 635 | BEPC-SPP | MEC | SPP | MISO | 1 | SWPP | MISO | 1
202_219 | 202 | 219 | ATSI | ITCT | PJM | MISO | 1 | PJM | MISO | 1
650_645 | 650 | 645 | LES | OPPD | SPP | SPP | 0 | SWPP | SWPP | 0
515_330 | 515 | 330 | SWPA | AECI | SPP | AECI | 1 | SPA | AECI | 1
234_230 | 234 | 230 | AE | PECO | PJM | PJM | 0 | PJM | PJM | 0
226_102 | 226 | 102 | PENELEC | NYISO | PJM | NYISO | 1 | PJM | NYIS | 1
402_419 | 402 | 419 | DEF | RCU | FRCC | FRCC | 0 | FPC | TEC | 1
360_357 | 360 | 357 | CWLP | AMIL | MISO | MISO | 0 | MISO | MISO | 0
225_235 | 225 | 235 | PJM | DP&L | PJM | PJM | 0 | PJM | PJM | 0
504_351 | 504 | 351 | LEPA | EES | MISO | MISO | 0 | MISO | MISO | 0
426_402 | 426 | 402 | OSC | DEF | FRCC | FRCC | 0 | FPC | FPC | 0
515_520 | 515 | 520 | SWPA | AEPW | SPP | SPP | 0 | SPA | SWPP | 1
102_103 | 102 | 103 | NYISO | IESO | NYISO | Ontario | 1 | NYIS | IESO | 1
347_342 | 347 | 342 | TVA | DUK | SERC | SERC | 0 | TVA | DUK | 1
667_672 | 667 | 672 | MH | SPC | Manitoba | Saskatchewan | 1 | MHEB | SPC | 1
210_314 | 210 | 314 | SIGE | BREC | MISO | MISO | 0 | MISO | MISO | 0
404_401 | 404 | 401 | GVL | FPL | FRCC | FRCC | 0 | GVL | FPL | 1
525_330 | 525 | 330 | WFEC | AECI | SPP | AECI | 1 | SWPP | AECI | 1
327_515 | 327 | 515 | EES-EAI | SWPA | MISO | SPP | 1 | MISO | SPA | 1
363_364 | 363 | 364 | LGEE | OMUA | SERC | SERC | 0 | LGEE | LGEE | 0
659_652 | 659 | 652 | BEPC-SPP | WAPA | SPP | SPP | 0 | SWPP | SWPP | 0
342_341 | 342 | 341 | DUK | CPLW | SERC | SERC | 0 | DUK | CPLW | 1
627_600 | 627 | 600 | ALTW | XEL | MISO | MISO | 0 | MISO | MISO | 0
600_694 | 600 | 694 | XEL | ALTE | MISO | MISO | 0 | MISO | MISO | 0
640_531 | 640 | 531 | NPPD | MIDW | SPP | SPP | 0 | SWPP | SWPP | 0
635_633 | 635 | 633 | MEC | MPW | MISO | MISO | 0 | MISO | MISO | 0
645_635 | 645 | 635 | OPPD | MEC | SPP | MISO | 1 | SWPP | MISO | 1
205_222 | 205 | 222 | AEP | CE | PJM | PJM | 0 | PJM | PJM | 0
627_356 | 627 | 356 | ALTW | AMMO | MISO | MISO | 0 | MISO | MISO | 0
228_234 | 228 | 234 | JCPL | AE | PJM | PJM | 0 | PJM | PJM | 0
640_645 | 640 | 645 | NPPD | OPPD | SPP | SPP | 0 | SWPP | SWPP | 0
208_357 | 208 | 357 | DEI | AMIL | MISO | MISO | 0 | MISO | MISO | 0
346_402 | 346 | 402 | SOCO | DEF | SERC | FRCC | 1 | SOCO | FPC | 1
502_520 | 502 | 520 | CLEC | AEPW | MISO | SPP | 1 | MISO | SWPP | 1
326_346 | 326 | 346 | EES-EMI | SOCO | MISO | SERC | 1 | MISO | SOCO | 1
536_520 | 536 | 520 | WERE | AEPW | SPP | SPP | 0 | SWPP | SWPP | 0
332_327 | 332 | 327 | LAGN | EES-EAI | MISO | MISO | 0 | MISO | MISO | 0
208_207 | 208 | 207 | DEI | HE | MISO | MISO | 0 | MISO | MISO | 0
523_330 | 523 | 330 | GRDA | AECI | SPP | AECI | 1 | SWPP | AECI | 1
659_680 | 659 | 680 | BEPC-SPP | DPC | SPP | MISO | 1 | SWPP | MISO | 1
416_419 | 416 | 419 | TECO | RCU | FRCC | FRCC | 0 | TEC | TEC | 0
347_326 | 347 | 326 | TVA | EES-EMI | SERC | MISO | 1 | TVA | MISO | 1
107_102 | 107 | 102 | CORNWALL | NYISO | Quebec | NYISO | 1 | HQT | NYIS | 1
222_295 | 222 | 295 | CE | WEC | PJM | MISO | 1 | PJM | MISO | 1
635_330 | 635 | 330 | MEC | AECI | MISO | AECI | 1 | MISO | AECI | 1
205_217 | 205 | 217 | AEP | NIPS | PJM | MISO | 1 | PJM | MISO | 1
642_640 | 642 | 640 | GRIS | NPPD | SPP | SPP | 0 | SWPP | SWPP | 0
363_210 | 363 | 210 | LGEE | SIGE | SERC | MISO | 1 | LGEE | MISO | 1
209_212 | 209 | 212 | DAY | DEO&K | PJM | PJM | 0 | PJM | PJM | 0
640_652 | 640 | 652 | NPPD | WAPA | SPP | SPP | 0 | SWPP | SWPP | 0
405_401 | 405 | 401 | HST | FPL | FRCC | FRCC | 0 | HST | FPL | 1
362_357 | 362 | 357 | GLH | AMIL | MISO | MISO | 0 | MISO | MISO | 0
354_346 | 354 | 346 | SERU | SOCO | SERC | SERC | 0 | SEPA | SOCO | 1
696_627 | 696 | 627 | WPS | ALTW | MISO | MISO | 0 | MISO | MISO | 0
227_232 | 227 | 232 | ME | BGE | PJM | PJM | 0 | PJM | PJM | 0
208_217 | 208 | 217 | DEI | NIPS | MISO | MISO | 0 | MISO | MISO | 0
520_351 | 520 | 351 | AEPW | EES | SPP | MISO | 1 | SWPP | MISO | 1
411_416 | 411 | 416 | FMPP | TECO | FRCC | FRCC | 0 | FMPP | TEC | 1
344_354 | 344 | 354 | SC | SERU | SCRTP | SERC | 1 | SC | SEPA | 1
342_352 | 342 | 352 | DUK | YAD | SERC | SERC | 0 | DUK | YAD | 1
207_210 | 207 | 210 | HE | SIGE | MISO | MISO | 0 | MISO | MISO | 0
546_330 | 546 | 330 | SPRM | AECI | SPP | AECI | 1 | SWPP | AECI | 1
205_206 | 205 | 206 | AEP | OVEC | PJM | PJM | 0 | PJM | PJM | 0
315_314 | 315 | 314 | HMPL | BREC | MISO | MISO | 0 | MISO | MISO | 0
534_524 | 534 | 524 | SUNC | OKGE | SPP | SPP | 0 | SWPP | SWPP | 0
347_330 | 347 | 330 | TVA | AECI | SERC | AECI | 1 | TVA | AECI | 1
515_524 | 515 | 524 | SWPA | OKGE | SPP | SPP | 0 | SPA | SWPP | 1
342_343 | 342 | 343 | DUK | SCEG | SERC | SCRTP | 1 | DUK | SCEG | 1
520_526 | 520 | 526 | AEPW | SPS | SPP | SPP | 0 | SWPP | SWPP | 0
363_208 | 363 | 208 | LGEE | DEI | SERC | MISO | 1 | LGEE | MISO | 1
401_346 | 401 | 346 | FPL | SOCO | FRCC | SERC | 1 | FPL | SOCO | 1
527_520 | 527 | 520 | OMPA | AEPW | SPP | SPP | 0 | SWPP | SWPP | 0
229_232 | 229 | 232 | PL | BGE | PJM | PJM | 0 | PJM | PJM | 0
525_520 | 525 | 520 | WFEC | AEPW | SPP | SPP | 0 | SWPP | SWPP | 0
228_231 | 228 | 231 | JCPL | PSEG | PJM | PJM | 0 | PJM | PJM | 0
541_542 | 541 | 542 | KCPL | KACY | SPP | SPP | 0 | SWPP | SWPP | 0
326_351 | 326 | 351 | EES-EMI | EES | MISO | MISO | 0 | MISO | MISO | 0
205_340 | 205 | 340 | AEP | CPLE | PJM | SERC | 1 | PJM | CPLE | 1
600_615 | 600 | 615 | XEL | GRE | MISO | MISO | 0 | MISO | MISO | 0
357_330 | 357 | 330 | AMIL | AECI | MISO | AECI | 1 | MISO | AECI | 1
600_667 | 600 | 667 | XEL | MH | MISO | Manitoba | 1 | MISO | MHEB | 1
228_229 | 228 | 229 | JCPL | PL | PJM | PJM | 0 | PJM | PJM | 0
536_330 | 536 | 330 | WERE | AECI | SPP | AECI | 1 | SWPP | AECI | 1
205_320 | 205 | 320 | AEP | EKPC | PJM | PJM | 0 | PJM | PJM | 0
523_544 | 523 | 544 | GRDA | EMDE | SPP | SPP | 0 | SWPP | SWPP | 0
332_346 | 332 | 346 | LAGN | SOCO | MISO | SERC | 1 | MISO | SOCO | 1
205_201 | 205 | 201 | AEP | APS | PJM | PJM | 0 | PJM | PJM | 0
101_105 | 101 | 105 | ISO-NE | NB | ISONE | New Brunswick | 1 | ISNE | NBSO | 1
502_326 | 502 | 326 | CLEC | EES-EMI | MISO | MISO | 0 | MISO | MISO | 0
523_524 | 523 | 524 | GRDA | OKGE | SPP | SPP | 0 | SWPP | SWPP | 0
228_230 | 228 | 230 | JCPL | PECO | PJM | PJM | 0 | PJM | PJM | 0
210_216 | 210 | 216 | SIGE | IPL | MISO | MISO | 0 | MISO | MISO | 0
205_209 | 205 | 209 | AEP | DAY | PJM | PJM | 0 | PJM | PJM | 0
340_342 | 340 | 342 | CPLE | DUK | SERC | SERC | 0 | CPLE | DUK | 1
233_232 | 233 | 232 | PEPCO | BGE | PJM | PJM | 0 | PJM | PJM | 0
330_356 | 330 | 356 | AECI | AMMO | AECI | MISO | 1 | AECI | MISO | 1
534_526 | 534 | 526 | SUNC | SPS | SPP | SPP | 0 | SWPP | SWPP | 0
627_652 | 627 | 652 | ALTW | WAPA | MISO | SPP | 1 | MISO | SWPP | 1
205_363 | 205 | 363 | AEP | LGEE | PJM | SERC | 1 | PJM | LGEE | 1
217_357 | 217 | 357 | NIPS | AMIL | MISO | MISO | 0 | MISO | MISO | 0
207_216 | 207 | 216 | HE | IPL | MISO | MISO | 0 | MISO | MISO | 0
544_536 | 544 | 536 | EMDE | WERE | SPP | SPP | 0 | SWPP | SWPP | 0
600_608 | 600 | 608 | XEL | MP | MISO | MISO | 0 | MISO | MISO | 0
640_534 | 640 | 534 | NPPD | SUNC | SPP | SPP | 0 | SWPP | SWPP | 0
620_608 | 620 | 608 | OTP | MP | MISO | MISO | 0 | MISO | MISO | 0
229_236 | 229 | 236 | PL | UGI | PJM | PJM | 0 | PJM | PJM | 0
207_314 | 207 | 314 | HE | BREC | MISO | MISO | 0 | MISO | MISO | 0
401_427 | 401 | 427 | FPL | OLEANDER | FRCC | FRCC | 0 | FPL | FPL | 0
342_346 | 342 | 346 | DUK | SOCO | SERC | SERC | 0 | DUK | SOCO | 1
546_515 | 546 | 515 | SPRM | SWPA | SPP | SPP | 0 | SWPP | SPA | 1
343_355 | 343 | 355 | SCEG | SETH | SCRTP | SERC | 1 | SCEG | SEPA | 1
229_226 | 229 | 226 | PL | PENELEC | PJM | PJM | 0 | PJM | PJM | 0
346_415 | 346 | 415 | SOCO | TAL | SERC | FRCC | 1 | SOCO | TAL | 1
235_230 | 235 | 230 | DP&L | PECO | PJM | PJM | 0 | PJM | PJM | 0
640_541 | 640 | 541 | NPPD | KCPL | SPP | SPP | 0 | SWPP | SWPP | 0
201_226 | 201 | 226 | APS | PENELEC | PJM | PJM | 0 | PJM | PJM | 0
600_652 | 600 | 652 | XEL | WAPA | MISO | SPP | 1 | MISO | SWPP | 1
205_212 | 205 | 212 | AEP | DEO&K | PJM | PJM | 0 | PJM | PJM | 0
208_210 | 208 | 210 | DEI | SIGE | MISO | MISO | 0 | MISO | MISO | 0
680_613 | 680 | 613 | DPC | SMMPA | MISO | MISO | 0 | MISO | MISO | 0
348_402 | 348 | 402 | GULF | DEF | SERC | FRCC | 1 | SOCO | FPC | 1
102_231 | 102 | 231 | NYISO | PSEG | NYISO | PJM | 1 | NYIS | PJM | 1
694_295 | 694 | 295 | ALTE | WEC | MISO | MISO | 0 | MISO | MISO | 0
645_652 | 645 | 652 | OPPD | WAPA | SPP | SPP | 0 | SWPP | SWPP | 0
343_344 | 343 | 344 | SCEG | SC | SCRTP | SCRTP | 0 | SCEG | SC | 1
541_635 | 541 | 635 | KCPL | MEC | SPP | MISO | 1 | SWPP | MISO | 1
363_314 | 363 | 314 | LGEE | BREC | SERC | MISO | 1 | LGEE | MISO | 1
534_531 | 534 | 531 | SUNC | MIDW | SPP | SPP | 0 | SWPP | SWPP | 0

## Mapping
FERC Region | EIA BA | NAERM Region Name | NAERM Region Number | Notes
AECI | AECI | AECI | 330 | Was deleted from Josh's analysis
Alberta | AESO | N/A | N/A | Not in EI
British Columbia | BCHA | N/A | N/A | Not in EI
CAISO | CISO | N/A | N/A | Not in EI but there is one WECC node in NAERM
CAISO | IID | N/A | N/A | Not in EI but there is one WECC node in NAERM
CAISO | LDWP | N/A | N/A | Not in EI but there is one WECC node in NAERM
CAISO | TIDC | N/A | N/A | Not in EI but there is one WECC node in NAERM
CAISO | BANC | N/A | N/A | Not in EI but there is one WECC node in NAERM
ERCOT | ERCO | ERCOT | 998 | Not in EI
FRCC | FPC | DEF | 402
FRCC | FPC | OSC | 426
FRCC | FPL | FPL | 401
FRCC | FPL | OLEANDER | 427
FRCC | FPL | FMP | 417 | Has no interfaces in NAERM model; Also used to be part of FMPP not FPL
FRCC | FPL | DESOTOGEN | 436 | Has no interfaces in NAERM model
FRCC | JEA | JEA | 406
FRCC | TEC | TECO | 416
FRCC | TEC | CALPINE | 428
FRCC | TEC | HPS | 433 | Has no interfaces in NAERM model
FRCC | FMPP | FTP | 403
FRCC | FMPP | TCEC | 421 | Generating plant for FMPP
FRCC | FMPP | KEY | 407
FRCC | FMPP | FMPP | 411
FRCC | FMPP | LWU | 409
FRCC | FMPP | IPP-REL | 438 | Has no interfaces in NAERM model
FRCC | GVL | GVL | 404
FRCC | SEC | SEC | 412
FRCC | TAL | TAL | 415
FRCC | TEC | RCU | 419
FRCC | HST | HST | 405
ISONE | ISNE | ISO-NE | 101
Manitoba | MHEB | MH | 667
Mexico | CEN | N/A | N/A | Not in EI
MISO | MISO | HE | 207
MISO | MISO | DEI | 208
MISO | MISO | SIGE | 210
MISO | MISO | IPL | 216
MISO | MISO | NIPS | 217
MISO | MISO | METC | 218
MISO | MISO | ITCT | 219
MISO | MISO | WEC | 295
MISO | MISO | MIUP | 296
MISO | MISO | BREC | 314
MISO | MISO | HMPL | 315
MISO | MISO | EES-EMI | 326
MISO | MISO | EES-EAI | 327
MISO | MISO | LAGN | 332
MISO | MISO | CWLD | 333
MISO | MISO | SMEPA | 349
MISO | MISO | EES | 351
MISO | MISO | AMMO | 356
MISO | MISO | AMIL | 357
MISO | MISO | CWLP | 360
MISO | MISO | SIPC | 361
MISO | MISO | GLH | 362
MISO | MISO | CLEC | 502
MISO | MISO | LAFA | 503
MISO | MISO | LEPA | 504
MISO | MISO | XEL | 600
MISO | MISO | MP | 608
MISO | MISO | SMMPA | 613
MISO | MISO | GRE | 615
MISO | MISO | OTP | 620
MISO | MISO | ALTW | 627
MISO | MISO | MPW | 633
MISO | MISO | MEC | 635
MISO | MISO | MDU | 661
MISO | MISO | BEPC-MISO | 663 | Has no interfaces in NAERM model
MISO | MISO | DPC | 680
MISO | MISO | ALTE | 694
MISO | MISO | WPS | 696
MISO | MISO | MGE | 697
MISO | MISO | UPPC | 698
MISO | GLHB | GLHB | 373 | Has no interfaces in NAERM model
New Brunswick | NBSO | NB | 105
New Brunswick | NBSO | NS | 106
NorthernGrid | BPAT | N/A | N/A | Not in EI
NorthernGrid | CHPD | N/A | N/A | Not in EI
NorthernGrid | GCPD | N/A | N/A | Not in EI
NorthernGrid | IPCO | N/A | N/A | Not in EI
NorthernGrid | NWMT | N/A | N/A | Not in EI
NorthernGrid | PACW | N/A | N/A | Not in EI
NorthernGrid | PACE | N/A | N/A | Not in EI
NorthernGrid | AVA | N/A | N/A | Not in EI
NorthernGrid | AVRN | N/A | N/A | Not in EI
NorthernGrid | DOPD | N/A | N/A | Not in EI
NorthernGrid | GRID | N/A | N/A | Not in EI
NorthernGrid | NEVP | N/A | N/A | Not in EI
NorthernGrid | PGE | N/A | N/A | Not in EI
NorthernGrid | PSEI | N/A | N/A | Not in EI
NorthernGrid | SCL | N/A | N/A | Not in EI
NorthernGrid | TPWR | N/A | N/A | Not in EI
NorthernGrid | GWA | N/A | N/A | Not in EI
NorthernGrid | WWA | N/A | N/A | Not in EI
NYISO | NYIS | NYISO | 102
Ontario | IESO | IESO | 103
PJM | PJM | APS | 201
PJM | PJM | ATSI | 202
PJM | PJM | AEP | 205
PJM | PJM | OVEC | 206 | Retired 5 months after EIA data reporting started, so counting as part of PJM
PJM | PJM | DAY | 209
PJM | PJM | DEO&K | 212
PJM | PJM | DLCO | 215
PJM | PJM | CE | 222
PJM | PJM | PJM | 225
PJM | PJM | PENELEC | 226
PJM | PJM | ME | 227
PJM | PJM | JCPL | 228
PJM | PJM | PL | 229
PJM | PJM | PECO | 230
PJM | PJM | PSEG | 231
PJM | PJM | BGE | 232
PJM | PJM | PEPCO | 233
PJM | PJM | AE | 234
PJM | PJM | DP&L | 235
PJM | PJM | UGI | 236
PJM | PJM | RECO | 237
PJM | PJM | SMECO | 238
PJM | PJM | EKPC | 320
PJM | PJM | DVP | 345
Quebec | HQT | CORNWALL | 107
Quebec | HQT | TE | 104
Saskatchewan | SPC | SPC | 672
SCRTP | SC | SC | 344
SCRTP | SCEG | SCEG | 343
SERC | SOCO | SOCO | 346
SERC | SOCO | GULF | 348 | Now part of FPL/FRCC but keeping in SERC as per NAERM superzone
SERC | TVA | TVA | 347
SERC | TVA | SMT | 365
SERC | DUK | DUK | 342
SERC | YAD | YAD | 352 | Has no interfaces in NAERM model
SERC | CPLE | CPLE | 340
SERC | CPLW | CPLW | 341
SERC | SEPA | SEHA | 353
SERC | SEPA | SERU | 354
SERC | SEPA | SETH | 355
SERC | LGEE | LGEE | 363
SERC | LGEE | OMUA | 364
SERC | AEC | N/A | N/A | Not in NAERM model
SPP | SPA | SWPA | 515
SPP | SWPP | AEPW | 520
SPP | SWPP | GRDA | 523
SPP | SWPP | OKGE | 524
SPP | SWPP | WFEC | 525
SPP | SWPP | SPS | 526
SPP | SWPP | OMPA | 527
SPP | SWPP | MIDW | 531
SPP | SWPP | MJMEUC | 506
SPP | SWPP | SUNC | 534
SPP | SWPP | WERE | 536
SPP | SWPP | KCPL | 541
SPP | SWPP | KACY | 542
SPP | SWPP | EMDE | 544
SPP | SWPP | INDN | 545
SPP | SWPP | SPRM | 546
SPP | SWPP | NPPD | 640
SPP | SWPP | HAST | 641
SPP | SWPP | GRIS | 642
SPP | SWPP | OPPD | 645
SPP | SWPP | LES | 650
SPP | SWPP | BEPC-SPP | 659
SPP | SWPP | WAPA | 652
WestConnect | PNM | N/A | N/A | Not in EI
WestConnect | SRP | N/A | N/A | Not in EI
WestConnect | TEPC | N/A | N/A | Not in EI
WestConnect | WACM | N/A | N/A | Not in EI
WestConnect | WALC | N/A | N/A | Not in EI
WestConnect | AZPS | N/A | N/A | Not in EI
WestConnect | WAUW | N/A | N/A | Not in EI
WestConnect | EPE | N/A | N/A | Not in EI
WestConnect | PSCO | N/A | N/A | Not in EI
WestConnect | DEAA | N/A | N/A | Not in EI
WestConnect | HGMA | N/A | N/A | Not in EI
WestConnect | GRIF | N/A | N/A | Not in EI
WestConnect | N/A | WECC | 999

## EIA_Connections
FromBA | ToBA | Notes for using EIA 2022 data only | General Notes
AEC | MISO | AEC DNE in EIA data post 2021 | Pre 9/2021 data: Add to SOCO-MISO mapping | AEC retired 9/2021, now part of SOCO
AEC | SOCO | AEC DNE in EIA data post 2021 | Pre 9/2021 data: Remove (not an interface currently) | AEC retired 9/2021, now part of SOCO
AECI | MISO
AECI | SPA
AECI | SWPP
AECI | TVA
CPLE | DUK
CPLE | PJM
CPLE | SC
CPLE | SCEG
CPLE | YAD |  |  | Has no interfaces in NAERM above 113 V limit
CPLW | DUK
CPLW | PJM
CPLW | TVA
DUK | CPLE
DUK | CPLW
DUK | PJM
DUK | SC
DUK | SCEG
DUK | SEPA
DUK | SOCO
DUK | TVA
DUK | YAD |  |  | Has no interfaces in NAERM above 113 V limit
FMPP | FPC
FMPP | FPL
FMPP | JEA |  | Figure out how to handle - this interface DNE in NAERM
FMPP | TEC
FPC | FMPP
FPC | FPL
FPC | GVL
FPC | NSB | NSB DNE in EIA data post 2020 | Pre 1/2020 data: Add to FPC-FMPP mapping | NSB retired 1/2020, now part of FMPP
FPC | SEC
FPC | SOCO
FPC | TAL
FPC | TEC
FPL | FMPP
FPL | FPC
FPL | GVL
FPL | HST
FPL | JEA
FPL | NSB | NSB DNE in EIA data post 2020 | Pre 1/2020 data: Add to FPL-FMPP mapping | NSB retired 1/2020, now part of FMPP
FPL | SEC
FPL | SOCO
FPL | TEC
GLHB | LGEE |  | Figure out how to handle - this interface DNE in NAERM
GLHB | MISO |  | Figure out how to handle - this interface DNE in NAERM
GVL | FPC
GVL | FPL
HST | FPL
ISNE | HQT
ISNE | NBSO
ISNE | NYIS
JEA | FMPP |  | Figure out how to handle - this interface DNE in NAERM
JEA | FPL
JEA | SEC
LGEE | GLHB |  | Figure out how to handle - this interface DNE in NAERM
LGEE | MISO
LGEE | OVEC | OVEC DNE in EIA data post 2018 | Pre 12/2018 data: Can use directly with OVEC region 206 in NAERM | OVEC retired 12/2018, now part of PJM
LGEE | PJM
LGEE | TVA
MISO | AEC | AEC DNE in EIA data post 2021 | Pre 9/2021 data: Add to SOCO-MISO mapping | AEC retired 9/2021, now part of SOCO
MISO | AECI
MISO | GLHB |  | Figure out how to handle - this interface DNE in NAERM
MISO | IESO
MISO | LGEE
MISO | MHEB
MISO | PJM
MISO | SOCO
MISO | SPA
MISO | SWPP
MISO | TVA
NSB | FPC | NSB DNE in EIA data post 2020 | Pre 1/2020 data: Add to FPC-FMPP mapping | NSB retired 1/2020, now part of FMPP
NSB | FPL | NSB DNE in EIA data post 2020 | Pre 1/2020 data: Add to FPL-FMPP mapping | NSB retired 1/2020, now part of FMPP
NYIS | HQT
NYIS | IESO
NYIS | ISNE
NYIS | PJM
OVEC | LGEE | OVEC DNE in EIA data post 2018 | Pre 12/2018 data: Can use directly with OVEC region 206 in NAERM | OVEC retired 12/2018, now part of PJM
OVEC | PJM | OVEC DNE in EIA data post 2018 | Pre 12/2018 data: Can use directly with OVEC region 206 in NAERM | OVEC retired 12/2018, now part of PJM
PJM | CPLE
PJM | CPLW
PJM | DUK
PJM | LGEE
PJM | MISO
PJM | NYIS
PJM | OVEC | OVEC DNE in EIA data post 2018 | Pre 12/2018 data: Can use directly with OVEC region 206 in NAERM | OVEC retired 12/2018, now part of PJM
PJM | TVA
SC | CPLE
SC | DUK
SC | SCEG
SC | SEPA
SC | SOCO
SCEG | CPLE
SCEG | DUK
SCEG | SC
SCEG | SEPA
SCEG | SOCO
SEC | FPC
SEC | FPL
SEC | JEA
SEC | TEC
SEPA | DUK
SEPA | SC
SEPA | SCEG
SEPA | SOCO
SOCO | AEC | AEC DNE in EIA data post 2021 | Pre 9/2021 data: Remove (not an interface currently) | AEC retired 9/2021, now part of SOCO
SOCO | DUK
SOCO | FPC
SOCO | FPL
SOCO | MISO
SOCO | SC
SOCO | SCEG
SOCO | SEPA
SOCO | TAL
SOCO | TVA
SPA | AECI
SPA | MISO
SPA | SWPP
SWPP | AECI
SWPP | MISO
SWPP | SPA
SWPP | SPC
TAL | FPC
TAL | SOCO
TEC | FMPP
TEC | FPC
TEC | FPL
TEC | SEC
TVA | AECI
TVA | CPLW
TVA | DUK
TVA | LGEE
TVA | MISO
TVA | PJM
TVA | SOCO
YAD | CPLE
YAD | DUK

## Sheet2
FromBA | ToBA
AECI | MISO
AECI | SWPP
AECI | TVA
AECI | SPA
CPLE | PJM
CPLE | DUK
CPLE | SCEG
CPLE | YAD
CPLE | SC
CPLW | PJM
CPLW | DUK
CPLW | TVA
DUK | PJM
DUK | CPLE
DUK | CPLW
DUK | SCEG
DUK | SC
DUK | SOCO
DUK | SEPA
DUK | YAD
DUK | TVA
FMPP | FPL
FMPP | FPC
FMPP | TEC
FPC | SOCO
FPC | FPL
FPC | TAL
FPC | GVL
FPC | FMPP
FPC | SEC
FPC | TEC
FPL | SOCO
FPL | FPC
FPL | FMPP
FPL | SEC
FPL | TEC
FPL | GVL
FPL | HST
FPL | JEA
GVL | FPL
GVL | FPC
HQT | ISNE | Canada
HQT | NYIS | Canada
HQT | IESO | Canada
HQT | NBSO | Canada
HST | FPL
IESO | NYIS | Canada
IESO | MISO | Canada
IESO | HQT | Canada
IESO | MHEB | Canada
ISNE | NYIS
ISNE | NBSO
ISNE | HQT
JEA | FPL
JEA | SEC
LGEE | PJM
LGEE | TVA
LGEE | MISO
MHEB | MISO | Canada
MHEB | IESO | Canada
MHEB | SPC | Canada
MISO | IESO
MISO | PJM
MISO | SOCO
MISO | AECI
MISO | SPA
MISO | SWPP
MISO | TVA
MISO | LGEE
MISO | MHEB
N/A | SWPP | with WECC - should exclude from summation of SWPP
NBSO | ISNE | Canada
NBSO | HQT | Canada
NYIS | ISNE
NYIS | IESO
NYIS | PJM
NYIS | HQT
PJM | NYIS
PJM | MISO
PJM | CPLE
PJM | CPLW
PJM | DUK
PJM | LGEE
PJM | TVA
SC | CPLE
SC | DUK
SC | SCEG
SC | SOCO
SC | SEPA
SCEG | CPLE
SCEG | DUK
SCEG | SC
SCEG | SOCO
SCEG | SEPA
SEC | FPL
SEC | JEA
SEC | FPC
SEC | TEC
SEPA | DUK
SEPA | SCEG
SEPA | SC
SEPA | SOCO
SOCO | MISO
SOCO | DUK
SOCO | SCEG
SOCO | SC
SOCO | FPC
SOCO | TAL
SOCO | FPL
SOCO | SEPA
SPA | MISO
SPA | AECI
SPA | SWPP
SPC | SWPP | Canada
SPC | MHEB | Canada
SWPP | MISO
SWPP | AECI
SWPP | SPA
SWPP | SPC
SWPP | N/A | with WECC - should exclude from summation of SWPP
TAL | SOCO
TAL | FPC
TEC | FPL
TEC | FMPP
TEC | FPC
TEC | SEC
TVA | DUK
TVA | MISO
TVA | PJM
TVA | AECI
TVA | CPLW
TVA | LGEE
TVA | SOCO